## Table_1
Engineering Feasibility Report Submittal Checklist (To be submitted to TWDB for review as a single PDF file during Planning Phase)
Entity Name: |  | Date:
Project Name: |  | TWDB Project Number:
EFR Name: |  | Engineering Firm:
Submittal No. (i.e., Initial Submittal is 1): |  | Design Engineer Name:
Contact Name:
E-mail: |  | Phone Number:
1 | A Statement on the Following is to be Included in the General Description Section: | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
1.01 | Sponsoring entity's name, address, telephone number, and primary contact. | Y
1.02 | Consulting engineer’s name, address, and telephone number. EFR must be signed, dated, and sealed by a Professional Engineer in the State of Texas. | Y
1.03 | Identify the Funding Program(s). | Y
1.04 | Identify entities to be served and current and future population. | Y
1.05 | Provide a general description of the existing system. | Y
1.06 | Description of the Problems and Needs (Water Loss, TCEQ / Regulatory Violations, or Need for Additional Water Supply) | Y
1.07 | Discussion of EPA or TCEQ Enforcement Actions (if applicable). | Y
1.08 | Discussion of Services Areas or Entities Being Joined into the Project. | Y
1.09 | Description of the Proposed Project. | Y
1.1 | Provide a general description of any land acquisition needs for the project including a general description of any existing transportation and utility easements for the project. | Y
1.11 | Discuss pilot study (if applicable). | Y
1.12 | Adequate discussion of the status of any required permits; and associated approvals and/or interlocal agreements/contracts. | Y
1.13 | U.S. Iron and Steel (USIS) Requirements. | Y
1.14 | Discussion of Floodplain Permit requirements. (Floodplain Administrator (FPA) Permit must be issued prior to design approval.) | Y
2 | A Statement on the Following is to be Included in the Alternatives Section: | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
2.01 | Description of Alternatives Considered. | Y
2.02 | Cost and Effectiveness Analysis. | Y
3 | A Statement on the Following is to be Included in the Project Specific Requirements Section:
3.01 | - Alternative Methods for Delivery. | Y
3.02 | - Status of Environmental Assessment Process. (The Environmental Affidavit TWDB-0208 must be submitted prior to approval of the EFR) | Y
3.03 | - Design data including pumping capacities, water storage and flexibility of system operation under normal and emergency conditions. | Y
3.04 | - Adequacy of the facilities regarding delivery capacity and pressure throughout the system. | Y
3.05 | - Effect of the proposed project on the operation and maintenance budget for the owner. | Y
3.06 | - Describe control of bypassing units or equipment which are needed to provide standby capability, provide flexibility of operation, or prevent discharges of partially treated or untreated wastewater during construction. | Y
3.07 | For Proposed Distribution System:
3.07.a | - Present area served and future areas to be served. | Y
3.07.b | - General description of existing system. | Y
3.07.c | - Terrain data in sufficient detail to establish general topographical features of present and future areas to be served. | Y
3.07.e | - Effect of proposed system expansion on existing system capacity. | Y
3.07.f | - Existing and/or proposed booster pump stations. | Y
3.07.g | - Amount of water loss existing and how the project addresses water loss. | Y
3.09 | For Proposed Water Treatment Plant:
3.09.a | - Discuss the type of treatment. | Y
3.09.b | - Discuss the type of equipment. | Y
3.09.c | - Discuss the capacity of facilities | Y
3.1 | New Sources: describe the source (or sources), with quantity and quality of water available. | Y
3.13 | For Water Supply Reservoir: | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
3.13.a | - Area map showing estimated acreage to be acquired and proposed take-line. | Y
3.13.b | - Project delineated on a topographic quad sheet with normal, 100-year and maximum probable design water surfaces indicated. | Y
3.13.c | - Proposed conservation, sediment, flood control and other storage capacities with corresponding areas and elevations. | Y
3.13.d | - Yield of the project based on efficiency, economics, environmental concerns, 10- to 30-year needs, and expected firm annual yield as proposed. | Y
3.13.e | - Expected quality of water to be impounded. | Y
3.13.f | - Existing water rights and purposes of use affected by the project. | Y
3.13.g | - Estimated total land acquisition cost including provisions for projected appraisal, title search, legal and other associated costs. | Y
3.13.h | - Description of all improvements (including roads, cemeteries, railroads, and public utilities) to be relocated or protected in the project area. | Y
3.13.i | - Letters, agreements, or other evidence from owners and/or responsible entities on improvements to be relocated or protected stating their position on acceptable means for such relocation or protection and the estimated cost. | Y
3.13.j | - Proposed recreational development and management plan, including anticipated buildup in demand, initial facilities to be provided which are and proposed to be dedicated to recreational use. | Y
3.13.k | - Geologic evaluation of the site accompanied by drilling logs showing sufficient details to indicate that a suitable development site has been selected. | Y
3.14 | Conveyance Coordination:
3.14.a | - For projects involving the development of infrastructure to transport water that is made available, explain considerations to reduce the necessity of exercising the power of eminent domain to obtain interest in real property. Include any considerations for using existing transportation and utility easements. | Y
3.14.b | - For water conveyance projects, a joint planning and coordination meeting is required between project sponsors, governmental entities, utilities, common carriers, and other entities, as applicable, to reduce the necessity of exercising the power of eminent domain to obtain interests in real property by using existing transportation and utility easements. Include details of the planning and coordination meeting(s) including the date, location, attendees, and minutes/outcome. | Y
5 | To Be Included in the Appendix: |  | Location (Section, page, etc.) | TWDB Reviewers Comments
5.01 | Opinion on Probable Construction Cost.
5.02 | Updated Project Budget (TWDB-1201).
5.03 | Updated Project Schedule. To include a minimum (1) closing date, (2) planning phase dates, including environmental and EFR approval, (3) design phase dates, including permitting and approvals, (4) construction phase dates, including bidding, notice-to-proceed, substantial completion, and final completion.
5.04 | Design Calculations.
6 | For projects with new water wells submit the following separately from the EFR:
6.01 | Water Rights Affidavit (TWDB-0208)
6.02 | TWDB Water Project Information Form (WRD-253d).
6.03 | Permit(s) issued by the Groundwater Conservation District.
| Y = Yes, please submit; enter the location information for each required item in the checklist's "Location" column. |  |  | TWDB-0750 Rev. 7/2026