## FINAL -0751
Water Supply Infrastructure Grants (WSIG) Plans and Specifications Design Submittal Checklist (This checklist is to be submitted with Plan and Specifications Documents and is to be completed by Design Engineer) Note: Submit the complete Project Manual as a bookmarked PDF and the Plan Set as an 11x17 PDF, unless otherwise specified.
Entity Name: |  | Date:
Project Name: |  | TWDB Project No.:
Contract Name: |  | Construction Contract CID No.:
Submittal No.: (i.e., initial submittal is No. 1) |  | Engineering Firm:
Contact Name: |  | TWDB Funding: | Water Supply Infrastructure Grants (WSIG)
E-mail: |  | Phone Number:
1 | Prerequisites for Design Submittal (for Construction-Only RTP WSIG projects, all required P&S documents will be provided at the time of application submittal)1: | Initiative
|  | WSIG | Approval Date or Document Date | TWDB Reviewers Comments
1.01 | For Construction-Only funding (RTP): (1) Environmental Affidavit (TWDB-0802); or (2) existing Environmental Finding Issued (if applicable) submitted with application.1 For PAD funding with or w/o Construction (PAD/C): Environmental Affidavit (TWDB-0802) submitted.4 | Y
1.02 | TWDB Engineering Feasibility Report Approval has been Issued. Only required for projects requesting PAD phase funding (with or w/o Construction).4 | Y
1.03 | Bookmarked PDFs submitted for TWDB review: (1) Project Manual/Specifications; and (2) Drawings/Plans (11x17 preferred). | Y
2 | A statement on each of the following is to be included in the Notice to Bidders and Instructions to Bidders.2 (refer to the most recent version of the WSIG Supplemental Contract Conditions [TWDB-0553], identified under Item 3.00 below): | Applicable Program
|  | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
2.01 | "This contract is contingent upon release of funds from the Texas Water Development Board." | Y
2.02 | "Any contract(s) awarded under this Invitation for Bids is/are expected to be funded in part by financial assistance from the Texas Water Development Board (TWDB). Neither the State of Texas, nor any of its departments, agencies, or employees are or will be a party to this Invitation for Bids or any resulting contract." | Y
2.03 | U.S. Iron and Steel (USIS) | Y
2.04 | Bid Guarantee (equivalent to five percent of the bid price) | Y
2.05 | Award of Contract to Nonresident Bidder (reference associated form TWDB-0459) | Y
3 | TWDB Documents/Forms To be Included in the Contract Documents (i.e., Project Manual that includes Technical Specifications): | Applicable Program
|  | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
3.01 | TWDB WSIG Supplemental Contract Conditions (TWDB-0553) (entire document)3 | Y
3.02 | Special Environmental Conditions, if applicable: Include any avoidance, minimization, or mitigation measures: (1) recommended by a regulatory agency through the agency coordination process; or (2) provided as conditions of regulatory permits or authorizations that are deemed necessary to ensure that the project does not have adverse environmental impacts. | Y
3.02 | Vendor Compliance with Reciprocity of Non-Resident Bidders (TWDB-0459) | Y
3.03 | Bid Proposal | Y
3.04 | Advertisement for Bids (Notice to Bidders)2 | Y
3.06 | Contract Agreement | Y
3.07 | Payment Bond | Y
3.08 | Performance Bond | Y
3.09 | Separate eligible and ineligible bid items (if applicable) | Y
3.1 | Trench Safety as separate bid item (if applicable) | Y
3.11 | Construction inspection provisions | Y
3.12 | Contractor's insurance | Y
4 | To be Mentioned in Plans | Applicable Program
|  | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
4.01 | U.S. Iron and Steel (USIS) | Y
4.02 | TWDB Standard Environmental Conditions to be included in the Plan Set's General Conditions: (1) "Consistent with the TWDB WSIG Supplemental Construction Contract Conditions (TWDB- 0553), the project proponent will abide by the standard emergency condition for the discovery of cultural resources." (2) "Consistent with the TWDB WSIG Supplemental Construction Contract Conditions (TWDB- 0553), the project proponent will abide by the standard emergency condition for the discovery of threatened and endangered species." | Y
4.03 | Special Environmental Conditions, if applicable: Include in the Plan Set's General Conditions; and, if applicable, incorporate into the design, any avoidance, minimization, or mitigation measures: (1) recommended by a regulatory agency through the agency coordination process; or (2) provided as conditions of regulatory permits or authorizations that are deemed necessary to ensure that the project does not have adverse environmental impacts. | Y
5 | Additional Information to be submitted along with the Plans and Specifications. | Applicable Program
|  | WSIG | Location (Section, page, etc.) | TWDB Reviewers Comments
5.01 | For Construction-Only funding (RTP): submit with application a completed Site Certificate (ED-101)1 that clarifies the entity has already fully obtained all land/easements required for this project; For PAD funding with or w/o construction (PAD/C): submit completed Site Certificate (ED-101) during the Design Phase that clarifies the same OR provides update on status of elements that may not be able to be completed quite yet. | Y
5.02 | For Construction-Only funding (RTP): submit with application all major permits that have been issued to the entity and are applicable to the WSIG Project, such as those from TCEQ, GCDs, and Floodplain Administrators; For PAD funding with or w/o construction (PAD/C): submit these major permits during the regular Design Phase. | Y |  | TCEQ = Texas Commission on Environmental Quality; GCD = Groundwater Conservation District.
5.03 | State here the scheduled construction completion date: __________________. *Note that all construction contracts must be completed by January 31, 2031. All construction closeout documents must be submitted by February 28, 2031 | Y
5.04 | TCEQ Design Review Process1: (1) TCEQ Design Approval is required for all Construction-Only RTP projects; AND also for regular PAD/C projects that include improvements to surface WTPs, public water supply wells, new interconnections, and/or disinfection & treatment projects. TCEQ P&S approval documents must be included in the entity's full application submittal package. OR (2) TCEQ designation of a Construction-Only RTP project design as a "non-significant" change to the existing water system that does not require TCEQ review. For those projects that in some cases the TCEQ determines do not need a TCEQ review, the entity must provide the following two documents: *A completed TCEQ-notification-form that can be downloaded from TCEQ's website (https://www.tceq.texas.gov/downloads/drinking-water/plan-technical-review/forms/nonsignificantchangenotification-form-21037) that the entity submits to TCEQ; and *TCEQ's email response to the entity's submittal of proposed changes where TCEQ "acknowledges", based on the information provided, that this project does not require submission of engineering plans and specifications for approval. | Y |  | Notes for Entity/Design Engineer: i.) For all Construction-Only RTP WSIG projects: all P&Ss will be either TCEQ-"acknowledged"/or/ TCEQ-"approved" design documents that must be submitted to TWDB with the WSIG application; ii.)For all regular PAD/C WSIG projects, whose P&Ss will be reviewed by TCEQ during the the normal design phase of the project & TCEQ design approvals to be submitted to TWDB.
5.05 | For WSIG PAD/C water projects in which the TWDB is the review authority (i.e., those project types not reviewed by TCEQ, see 5.04 above), the project proponent must complete all relevant TCEQ P&S "design criteria checklists" that are available on their website (https://www.tceq.texas.gov/drinkingwater/udpubs.html) & are in accordance with TCEQ design requirements (per 30 TAC Ch. 290 rules); and submit these to TWDB. | Y |  | Note for Entity/Design Engineer: For the PAD/C project P&Ss to be reviewed by TWDB during the the normal design phase of the project.
5.05 | TCEQ Variance Approval Documents (if applicable):1 Variances, waivers, and/or exceptions to the state design criteria must be reviewed and approved by TCEQ. | Y
6 | Engineer Seal and Certifications (Note: Each of the following items should be signed/sealed by the design engineer as needed; it is recommended to provide this section as a PDF to allow for completion) | Applicable Program
|  | WSIG | Comments by Design Engineer | TWDB Reviewers Comments
6.01 | Biddability and Constructability Certification: I _________________________________________________________________ (engineer name and PE number) certify that I have reviewed the construction drawings and specifications to ensure adequate information has been provided so that a contractor can bid and construct the project without additional details or directions. | Y
6.02 | Potable Water Certification: All potable water distribution systems shall be designed in accordance with current American Water Works Association (AWWA) standards with reference to materials to be used and construction procedures to be followed. In the absence of AWWA standards, TCEQ review may be based upon the standards of the American Society for Testing and Materials (ASTM); or commercial and/or other recognized standards utilized by licensed professional engineers. I _________________________________________________________________ (engineer name and PE number) certify that, to the best of my knowledge, all potable water distribution system components are designed in accordance with the standards stated above or a documented exception (identified in item 5.03c above) has been granted for any components not meeting the standards above. | Y
6.03 | This P&S submittal form must be signed, dated, and sealed by a professional engineer licensed in the state of Texas. (Provide P.E. Seal, Signed, and Dated in this space) | Y
7 | Reference Guidance | Applicable Program
|  | WSIG | Comments by Design Engineer | TWDB Reviewers Comments
7.01 | Water Supply and Infrastructure Grants (WSIG) Guidance (TWDB-0175) | Y
7.02 | United States Iron and Steel (USIS) Guidance (TWDB-1105) | Y
1Required for the contract to be considered Ready-to-Proceed (RTP).
2Local Gov't Code Requirement to post Advertisement/Notice in an appropriate Newspaper twice in a two-week period (if applicable; entity should consult their attorney)
3TWDB WSiG Supplemental Contract Conditions (TWDB-0553) document must be explicitly incorporated into the terms of the Construction Contract Agreement. Please note: The standard environmental emergency conditions for discovery of cultural resources and threatened/endangered species are already located in the Project Manual within the TWDB WSIG Supplemental Contract Conditions (TWDB-0553) document.
4PAD = Planning, Acquisition, Design phases; PADC = Planning, Acquisition, Design, Construction phases; PAD/C = PAD with or w/out Construction.
| Y = Yes, please submit; and enter the location information for each required item in the checklist's "Location" column. |  |  | TWDB-0751 Rev. 07/2026