## Slide 1: Margaret Nellor Texas Innovative Water 2010 Advancing the Development of New Water Supplies in Texas October 12, 2010
Direct Potable Reuse (DPR) – Has It's Time Come?
DPR

## Slide 2: What We’re Not Talking About
Indirect Potable Reuse:
  Planned introduction of RW into a water supply
  Provides an environmental buffer (time & blending)
Groundwater Recharge
Surface Water Augmentation

## Slide 3: What We’re Not Talking About
Unplanned Indirect Potable Reuse:
  Introduction of wastewater into a water supply
  Provides an environmental buffer
City A
City B

## Slide 4: What is Direct Reuse?
RW introduced downstream of WTP (pipe-to-pipe)?
RW introduced in raw water supply upstream of WTP?
Both of the above?
No agreement on definition 
NRC Water Reuse Committee 2011 Report

## Slide 5: Why Do It?
NPR not an option
IPR not option
  No reservoir
  Groundwater hydrology not suitable
Treatment technology available
Could be more cost effective
  Eliminating/reducing distribution infrastructure

## Slide 6: Pipe to Pipe - Is It Going on Now?
Windhoek, Namibia
Started in 1968
Divert industrial discharges
35% water supply
50% water supply drought
4.4 mgd AWTP

## Slide 7
DPR: has its time come in the U.S?

## Slide 8
Less Likely
More Likely
Living On Mars
Relative Scale of Possibility (M. H. Nellor, 2001)
LA Getting the Raiders
Back
The Next
Martha Stewart?
Everyone Loves EPA’s
Rules

## Slide 9: It Will be State Dependent

## Slide 10: California Approach
WRA Potable Reuse Committee
White Papers
April 2010 Workshop
  Public Acceptance  5 Tasks
    Develop appropriate terminology
    Survey stakeholders
    Develop messages
    Develop a communications strategy
    Implement the communications strategy
  Regulatory Issues  7 Tasks
    Is it allowed under existing state laws/regs?
    If not what regulatory changes are needed?
Under CA law RW is a “waste” 

## Slide 11: California Approach
  Treatment and Monitoring  13 Tasks
    WQ treatment performance goals
    Performance monitoring
    Substitution of the environmental buffer
    Monitoring for public health assurance
    Define direct potable reuse
    System design considerations
    Need for enhanced source control
    Diversity of treatment barriers for constituents
    Data reporting
    Operational guidelines
    Blending
    Concentrate and residual management
    Monitoring for environmental impacts
Work plan (2010/2011)
Unlike IPR – not total agreement on DPR 

## Slide 12: New Mexico – Cloudcroft (2009)
Augment potable water system w/ AWT RW
RW: 100,000 GPD (MBR/RO/AOP)
Blend up to 50/50 with natural spring/well water in covered reservoir
Treat blend (UF/GAC/Cl2)
Place into distribution system
NMED Drinking Water Bureau approved
Public outreach 

## Slide 13: Texas – CRMWD (2012)
Drivers
  NPR seasonal and limited demand
  (climate issues & customers)
  NPR distribution systems expensive
  High WW TDS limits reuse (> 3,500 mg/L)
  Lack of other water sources
2005 Feasibility study + public outreach
2009 Pilot testing
May 2010 TCEQ granted request for exception as raw water source
2012 First Phase – 2.5 mgd
Goal 3 projects – 13 mgd

## Slide 14
10 – 30%
MF/RO/AOP
David W. Sloan, Freese and Nichols, Inc., Fort Worth, TX
Chris Wingert, Colorado River MWD, Big Spring, TX
Ignacio Cadena, Freese and Nichols, Inc., Fort Worth, TX

## Slide 15
Less Likely
More Likely
Revised Relative Scale of Possibility (2010)
LA Getting the Raiders
Back
The Next
Martha Stewart?
DPR in CA
DPR in Texas
& New Mexico
Absolutely

## Slide 16: Questions?
Margaret Nellor
Nellor Environmental Assoc.
margie@nellorenvironmental.com
512-374-9330
NWRI White Paper: www.nwri-usa.org/pdfs/NWRIPaperDirectPotableReuse2010.pdf
WRA White Paper: dsmith@WateReuse.org
DPR Workshop: dsmith@WateReuse.org