## Slide 1: The State of Brackish Groundwater Desalination in Texas
Jorge A. Arroyo P.E.
Innovative Water Technologies

## Slide 2: The State of Brackish Groundwater Desalination in Texas
Availability
Current Use
Projected Use
Challenges

## Slide 3: Availability of Brackish Groundwater in Texas
Chart: Brackish Groundwater Volumes per Regional Planning Areas
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
Volume of Brackish Groundwater per Regional Planning Area | 19.072 | 14.528 | 84.864 | 55.712 | 125.0048 | 371.5488 | 195.1136 | 192.912 | 195.432 | 8.5152 | 201.08 | 416.576 | 394.848 | 331.04 | 91.6112 | 7.8

## Slide 4: Existing Brackish Groundwater Desalination in Texas
Chart: Year
| 1999 | 2001 | 2005 | 2010
Number of Facilities | 12 | 14 | 38 | 44
Design Capacity (MGD) | 22 | 30 | 75 | 116

## Slide 5: Projected Brackish Groundwater Desalination in Texas
2007 Water For Texas
2010 Initially Prepared Plans
Region | New Water from BGW Desal by 2060 (acre-feet/year)
E | 50,000
F | 16,221
K | 29,568
L | 5,662
M | 69,962
O | 3,360
TOTAL | 174,773
Region | New Water from BGW Desal by 2060 (acre-feet/year)
E | 27,726
F | 16,050
K | 71,000
L | 40,216
M | 76,051
O | 3,360
TOTAL | 170,503

## Slide 6: Challenges to Brackish Groundwater Desalination in Texas
Resource characterization
  Source location
  Quantity and quality
  Sustainability
Concentrate management
  Practical options
  Potential impacts
  Cost
  Permitting
Energy requirements
  Relative higher power demand
  Strategies to reduce energy requirements
  Alternative energy source
Funding
  Planning and feasibility assessments
  Pilot studies
  Demonstration projects

## Slide 7: Resources for Brackish Groundwater Desalination
TWDB Contract No. 0604830581
Guidance Manual for Brackish Groundwater Desalination in Texas
TWDB Contract No. 2001483395
Brackish Groundwater Manual for Texas
Regional Water Planning Groups
US Bureau of Reclamation 2003
Site for downloading completed reports:
http://www.twdb.state.tx.us/iwt/desal/projects.asp