## WorkbookDataTabDescriptions
Workbook Description: This workbook contains 2022 State Water Plan recommended water management strategy project (WMSP) data to be used for the WMS project feasibility review task. Data queried on 12/21/2022 and filtered by WMS project sponsor region = 'C'. Recommended WMS are listed in the Excel workbook titled '2022SWPWMS&ProjectFeasibilityAnalysis_WMSWorkbook.' To see strategy details such as WUG geographic information or source geographic information and WMS/WMS project relationships see the Excel workbook titled '2022SWPWMS&ProjectFeasibilityAnalysis_WMSDetails&ProjectRelationships.'
Workbook Tab Name | Workbook tab description
2020WMSProjects | Tab contains projects with an online decade of 2020. This tab is required to be assessed.
SelectProjectsOnlineAfter2020 | Tab contains WMS projects that have an online planning decade of 2030 or 2040 and -Direct potable reuse strategies that provide greater than 5,000 acre-feet per year (acre-feet/year) of supply in any planning decade -Brackish groundwater strategies that provide greater than 10,000 acre-feet/year of supply in any planning decade -Aquifer storage and recovery strategies that provide greater than 10,000 acre-feet/year in any decade -All water transfers from out of state or WMS projects related to new major reservoirs or seawater desalination that occur in any planning decade after 2020.

## 2020WMSProjects
Tab 1: Recommended WMS projects associated with an online decade of 2020
WMS Project identified as infeasible? (Y/N) | RWPG Comments | Project Sponsor Region | Project Category | WMS Project Id | WMS Project Name | Capital Cost | Online Decade | Project Sponsors | Project Components | Project Related WMS Types | Project Related Source Subtypes | Project Related Strategy Supply 2020 AFY | Project Related Strategy Supply 2030 AFY | Project Related Strategy Supply 2040 AFY | Project Related Strategy Supply 2050 AFY | Project Related Strategy Supply 2060 AFY | Project Related Strategy Supply 2070 AFY
|  | C | Other project type | 4012 | Anna - New Well(s) in Woodbine Aquifer | 2846000 | 2020 | Anna | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 200 | 200 | 200 | 200 | 200 | 200
|  | C | Other project type | 4013 | Argyle WSC - New Well(s) in Trinity Aquifer | 2955000 | 2020 | Argyle WSC | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 250 | 250 | 250 | 250 | 250 | 250
|  | C | Other project type | 1074 | Athens MWA - New Wells Phase 1 | 15151000 | 2020 | Athens Municipal Water Authority | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 0 | 0 | 0 | 0 | 590 | 1693
|  | C | Other project type | 3861 | Athens MWA - New Wells Phase 2 | 2573000 | 2020 | Athens Municipal Water Authority | Single Well | Groundwater wells and other | Groundwater | 0 | 0 | 0 | 0 | 590 | 1693
|  | C | Other project type | 1075 | Athens MWA - WTP Infrastructure Improvements | 65000 | 2020 | Athens Municipal Water Authority | Water Treatment Plant Expansion | Indirect reuse | Indirect Potable Reuse | 0 | 0 | 0 | 0 | 538 | 1817
|  | C | Other project type | 859 | Azle - 4 MGD WTP Expansion | 25410000 | 2020 | Azle | Water Treatment Plant Expansion | Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 224 | 311 | 424 | 624 | 999 | 1734
|  | C | Other project type | 4096 | B H P WSC - Direct Connection to NTWMD | 3108000 | 2020 | B H P WSC | Conveyance/Transmission Pipeline; Pump Station; Storage Tank | Other surface water | Reservoir System | 0 | 67 | 86 | 63 | 96 | 109
|  | C | Other project type | 4015 | Bolivar WSC - New Well(s) in Trinity Aquifer | 2955000 | 2020 | Bolivar WSC | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 250 | 250 | 250 | 250 | 250 | 250
|  | C | Other project type | 1110 | Cash WSC - Additional Delivery Infrastructure from NTMWD | 7888000 | 2020 | Cash SUD | Conveyance/Transmission Pipeline; Pump Station | Other surface water | Reservoir System | 332 | 671 | 886 | 858 | 724 | 553
|  | C | Other project type | 2917 | Conservation, Water Loss Conservation - Desert WSC | 11979 | 2020 | Desert WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 2919 | Conservation, Water Loss Conservation - Dogwood Estates Water | 4765 | 2020 | Dogwood Estates Water | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 2951 | Conservation, Water Loss Conservation - South Ellis County WSC | 14796 | 2020 | South Ellis County WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 107 | 429 | 599
|  | C | Other project type | 832 | Conservation, Water Loss Control - Ables Springs WSC | 14562 | 2020 | Ables Springs WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1279 | Conservation, Water Loss Control - Addison | 1315440 | 2020 | Addison | Water Loss Control | Municipal conservation |  | 31 | 32 | 0 | 0 | 0 | 0
|  | C | Other project type | 1280 | Conservation, Water Loss Control - Aledo | 27245 | 2020 | Aledo | Water Loss Control | Municipal conservation |  | 4 | 7 | 0 | 0 | 0 | 0
|  | C | Other project type | 1281 | Conservation, Water Loss Control - Allen | 1516556 | 2020 | Allen | Water Loss Control | Municipal conservation |  | 109 | 118 | 0 | 0 | 0 | 0
|  | C | Other project type | 1282 | Conservation, Water Loss Control - Alvord | 5247 | 2020 | Alvord | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1283 | Conservation, Water Loss Control - Anna | 164611 | 2020 | Anna | Water Loss Control | Municipal conservation |  | 116 | 547 | 0 | 0 | 0 | 0
|  | C | Other project type | 1284 | Conservation, Water Loss Control - Annetta | 11234 | 2020 | Annetta | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1288 | Conservation, Water Loss Control - Argyle WSC | 310357 | 2020 | Argyle WSC | Water Loss Control | Municipal conservation |  | 13 | 43 | 101 | 101 | 101 | 101
|  | C | Other project type | 2899 | Conservation, Water Loss Control - Arledge Ridge WSC | 2763 | 2020 | Arledge Ridge WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1289 | Conservation, Water Loss Control - Arlington | 8740436 | 2020 | Arlington | Water Loss Control | Municipal conservation |  | 1231 | 1273 | 936 | 937 | 940 | 940
|  | C | Other project type | 1290 | Conservation, Water Loss Control - Athens | 418536 | 2020 | Athens | Water Loss Control | Municipal conservation |  | 15 | 16 | 0 | 0 | 0 | 0
|  | C | Other project type | 1291 | Conservation, Water Loss Control - Aubrey | 47811 | 2020 | Aubrey | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 2900 | Conservation, Water Loss Control - Avalon Water Supply and Sewer Service | 8624 | 2020 | Avalon Water Supply and Sewer Service | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1293 | Conservation, Water Loss Control - Azle | 269308 | 2020 | Azle | Water Loss Control | Municipal conservation |  | 20 | 20 | 0 | 0 | 0 | 0
|  | C | Other project type | 2901 | Conservation, Water Loss Control - B and B WSC | 5528 | 2020 | B And B WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1294 | Conservation, Water Loss Control - Balch Springs | 229772 | 2020 | Balch Springs | Water Loss Control | Municipal conservation |  | 14 | 14 | 0 | 0 | 0 | 0
|  | C | Other project type | 1418 | Conservation, Water Loss Control - Bear Creek SUD | 55186 | 2020 | Bear Creek SUD | Water Loss Control | Municipal conservation |  | 3 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 2905 | Conservation, Water Loss Control - Becker Jiba WSC | 15523 | 2020 | Becker Jiba WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1297 | Conservation, Water Loss Control - Bedford | 1762821 | 2020 | Bedford | Water Loss Control | Municipal conservation |  | 966 | 1016 | 0 | 0 | 0 | 0
|  | C | Other project type | 1298 | Conservation, Water Loss Control - Bells | 292347 | 2020 | Bells | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1299 | Conservation, Water Loss Control - Benbrook | 273621 | 2020 | Benbrook Water Authority | Water Loss Control | Municipal conservation |  | 26 | 28 | 0 | 0 | 0 | 0
|  | C | Other project type | 1300 | Conservation, Water Loss Control - Bethel-Ash WSC | 5087 | 2020 | Bethel Ash WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1301 | Conservation, Water Loss Control - Bethesda WSC | 197156 | 2020 | Bethesda WSC | Water Loss Control | Municipal conservation |  | 11 | 12 | 0 | 0 | 0 | 0
|  | C | Other project type | 2906 | Conservation, Water Loss Control - Black Rock WSC | 17593 | 2020 | Black Rock WSC | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1302 | Conservation, Water Loss Control - Blackland WSC | 292347 | 2020 | Blackland WSC | Water Loss Control | Municipal conservation |  | 4 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 1303 | Conservation, Water Loss Control - Blooming Grove | 12881 | 2020 | Blooming Grove | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1305 | Conservation, Water Loss Control - Blue Ridge | 55892 | 2020 | Blue Ridge | Water Loss Control | Municipal conservation |  | 2 | 3 | 2 | 5 | 7 | 9
|  | C | Other project type | 2907 | Conservation, Water Loss Control - Bois D Arc MUD | 8698 | 2020 | Bois D Arc MUD | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1306 | Conservation, Water Loss Control - Bolivar WSC | 51327 | 2020 | Bolivar WSC | Water Loss Control | Municipal conservation |  | 5 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1307 | Conservation, Water Loss Control - Bonham | 72634 | 2020 | Bonham | Water Loss Control | Municipal conservation |  | 10 | 13 | 0 | 0 | 0 | 0
|  | C | Other project type | 1308 | Conservation, Water Loss Control - Boyd | 4837 | 2020 | Boyd | Water Loss Control | Municipal conservation |  | 2 | 7 | 22 | 0 | 0 | 0
|  | C | Other project type | 1310 | Conservation, Water Loss Control - Bridgeport | 39597 | 2020 | Bridgeport | Water Loss Control | Municipal conservation |  | 6 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1312 | Conservation, Water Loss Control - Buena Vista - Bethel SUD | 29027 | 2020 | Buena Vista-Bethel SUD | Water Loss Control | Municipal conservation |  | 6 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1313 | Conservation, Water Loss Control - Burleson | 132685 | 2020 | Burleson | Water Loss Control | Municipal conservation |  | 6 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 2908 | Conservation, Water Loss Control - Butler WSC | 4404 | 2020 | Butler WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1314 | Conservation, Water Loss Control - Caddo Basin SUD | 5095 | 2020 | Caddo Basin SUD | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 2910 | Conservation, Water Loss Control - Callisburg WSC | 2975 | 2020 | Callisburg WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1315 | Conservation, Water Loss Control - Carrollton | 2096860 | 2020 | Carrollton | Water Loss Control | Municipal conservation |  | 121 | 121 | 0 | 0 | 0 | 0
|  | C | Other project type | 1316 | Conservation, Water Loss Control - Cash SUD | 2304 | 2020 | Cash SUD | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1317 | Conservation, Water Loss Control - Cedar Hill | 673056 | 2020 | Cedar Hill | Water Loss Control | Municipal conservation |  | 212 | 255 | 222 | 255 | 255 | 255
|  | C | Other project type | 1318 | Conservation, Water Loss Control - Celina | 384870 | 2020 | Celina | Water Loss Control | Municipal conservation |  | 23 | 58 | 0 | 0 | 0 | 0
|  | C | Other project type | 1319 | Conservation, Water Loss Control - Chatfield WSC | 12274 | 2020 | Chatfield WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1320 | Conservation, Water Loss Control - Chico | 7070 | 2020 | Chico | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1321 | Conservation, Water Loss Control - Cockrell Hill | 13114 | 2020 | Cockrell Hill | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1322 | Conservation, Water Loss Control - College Mound WSC | 37197 | 2020 | College Mound WSC | Water Loss Control | Municipal conservation |  | 4 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 1323 | Conservation, Water Loss Control - Colleyville | 1615494 | 2020 | Colleyville | Water Loss Control | Municipal conservation |  | 46 | 48 | 0 | 0 | 0 | 0
|  | C | Other project type | 1548 | Conservation, Water Loss Control - Collin County | 19179 | 2020 | Municipal county-other (Collin) | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1324 | Conservation, Water Loss Control - Collinsville | 16010 | 2020 | Collinsville | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 2912 | Conservation, Water Loss Control - Combine WSC | 30127 | 2020 | Combine WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1326 | Conservation, Water Loss Control - Community WSC | 6859 | 2020 | Community WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1549 | Conservation, Water Loss Control - Cooke County | 17725 | 2020 | Municipal county-other (Cooke) | Water Loss Control | Municipal conservation |  | 4 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1327 | Conservation, Water Loss Control - Copeville SUD | 19436 | 2020 | Copeville SUD | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1328 | Conservation, Water Loss Control - Coppell | 1367318 | 2020 | Coppell | Water Loss Control | Municipal conservation |  | 56 | 56 | 0 | 0 | 0 | 0
|  | C | Other project type | 1330 | Conservation, Water Loss Control - Corbet WSC | 4543 | 2020 | Corbet WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1331 | Conservation, Water Loss Control - Corinth | 335099 | 2020 | Corinth | Water Loss Control | Municipal conservation |  | 21 | 25 | 0 | 0 | 0 | 0
|  | C | Other project type | 1332 | Conservation, Water Loss Control - Corsicana | 620621 | 2020 | Corsicana | Water Loss Control | Municipal conservation |  | 31 | 33 | 0 | 0 | 0 | 0
|  | C | Other project type | 1333 | Conservation, Water Loss Control - Crandall | 33260 | 2020 | Crandall | Water Loss Control | Municipal conservation |  | 4 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 2914 | Conservation, Water Loss Control - Crescent Heights WSC | 8820 | 2020 | Crescent Heights WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 2915 | Conservation, Water Loss Control - Cross Timbers WSC | 160638 | 2020 | Cross Timbers WSC | Water Loss Control | Municipal conservation |  | 8 | 10 | 0 | 0 | 0 | 0
|  | C | Other project type | 1336 | Conservation, Water Loss Control - Crowley | 118084 | 2020 | Crowley | Water Loss Control | Municipal conservation |  | 12 | 14 | 0 | 0 | 0 | 0
|  | C | Other project type | 1337 | Conservation, Water Loss Control - Culleoka WSC | 41495 | 2020 | Culleoka WSC | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1338 | Conservation, Water Loss Control - Dallas | 16933907 | 2020 | Dallas | Water Loss Control | Municipal conservation |  | 2752 | 2924 | 0 | 0 | 0 | 0
|  | C | Other project type | 1550 | Conservation, Water Loss Control - Dallas County | 57338 | 2020 | Municipal county-other (Dallas) | Water Loss Control | Municipal conservation |  | 11 | 11 | 0 | 0 | 0 | 0
|  | C | Other project type | 1339 | Conservation, Water Loss Control - Dalworthington Gardens | 41616 | 2020 | Dalworthington Gardens | Water Loss Control | Municipal conservation |  | 5 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 1340 | Conservation, Water Loss Control - Dawson | 9479 | 2020 | Dawson | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1341 | Conservation, Water Loss Control - Decatur | 278594 | 2020 | Decatur | Water Loss Control | Municipal conservation |  | 12 | 16 | 0 | 0 | 0 | 0
|  | C | Other project type | 1342 | Conservation, Water Loss Control - Denison | 698755 | 2020 | Denison | Water Loss Control | Municipal conservation |  | 157 | 435 | 395 | 432 | 502 | 667
|  | C | Other project type | 1343 | Conservation, Water Loss Control - Denton | 4636961 | 2020 | Denton | Water Loss Control | Municipal conservation |  | 131 | 165 | 0 | 0 | 0 | 0
|  | C | Other project type | 1551 | Conservation, Water Loss Control - Denton County | 47949 | 2020 | Municipal county-other (Denton) | Water Loss Control | Municipal conservation |  | 6 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1344 | Conservation, Water Loss Control - Denton County FWSD 10 | 967900 | 2020 | Denton County FWSD 10 | Water Loss Control | Municipal conservation |  | 7 | 16 | 0 | 0 | 0 | 0
|  | C | Other project type | 1345 | Conservation, Water Loss Control - Denton County FWSD 1A | 565854 | 2020 | Denton County FWSD 1-A | Water Loss Control | Municipal conservation |  | 18 | 32 | 0 | 0 | 0 | 0
|  | C | Other project type | 1346 | Conservation, Water Loss Control - Denton County FWSD 7 | 178667 | 2020 | Denton County FWSD 7 | Water Loss Control | Municipal conservation |  | 17 | 17 | 0 | 0 | 0 | 0
|  | C | Other project type | 1347 | Conservation, Water Loss Control - DeSoto | 263044 | 2020 | Desoto | Water Loss Control | Municipal conservation |  | 94 | 199 | 160 | 173 | 187 | 192
|  | C | Other project type | 2920 | Conservation, Water Loss Control - Dorchester | 5172 | 2020 | Dorchester | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1349 | Conservation, Water Loss Control - Duncanville | 615654 | 2020 | Duncanville | Water Loss Control | Municipal conservation |  | 30 | 32 | 0 | 0 | 0 | 0
|  | C | Other project type | 1350 | Conservation, Water Loss Control - East Cedar Creek FWSD | 110198 | 2020 | East Cedar Creek FWSD | Water Loss Control | Municipal conservation |  | 7 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1351 | Conservation, Water Loss Control - East Fork SUD | 526225 | 2020 | East Fork SUD | Water Loss Control | Municipal conservation |  | 10 | 10 | 0 | 0 | 0 | 0
|  | C | Other project type | 2922 | Conservation, Water Loss Control - East Garrett WSC | 6179 | 2020 | East Garrett WSC | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1353 | Conservation, Water Loss Control - Edgecliff Village | 76154 | 2020 | Edgecliff | Water Loss Control | Municipal conservation |  | 3 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1552 | Conservation, Water Loss Control - Ellis County | 7089 | 2020 | Municipal county-other (Ellis) | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 2923 | Conservation, Water Loss Control - Elmo WSC | 3802 | 2020 | Elmo WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1354 | Conservation, Water Loss Control - Ennis | 612128 | 2020 | Ennis | Water Loss Control | Municipal conservation |  | 20 | 110 | 296 | 418 | 672 | 1117
|  | C | Other project type | 1355 | Conservation, Water Loss Control - Euless | 1524130 | 2020 | Euless | Water Loss Control | Municipal conservation |  | 224 | 229 | 135 | 133 | 133 | 133
|  | C | Other project type | 1356 | Conservation, Water Loss Control - Eustace | 7675 | 2020 | Eustace | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1357 | Conservation, Water Loss Control - Everman | 51306 | 2020 | Everman | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1358 | Conservation, Water Loss Control - Fairfield | 84573 | 2020 | Fairfield | Water Loss Control | Municipal conservation |  | 5 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 1359 | Conservation, Water Loss Control - Fairview | 205518 | 2020 | Fairview | Water Loss Control | Municipal conservation |  | 22 | 26 | 0 | 0 | 0 | 0
|  | C | Other project type | 1553 | Conservation, Water Loss Control - Fannin County | 13853 | 2020 | Municipal county-other (Fannin) | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1360 | Conservation, Water Loss Control - Farmers Branch | 744659 | 2020 | Farmers Branch | Water Loss Control | Municipal conservation |  | 45 | 47 | 0 | 0 | 0 | 0
|  | C | Other project type | 1361 | Conservation, Water Loss Control - Farmersville | 105003 | 2020 | Farmersville | Water Loss Control | Municipal conservation |  | 5 | 13 | 0 | 0 | 0 | 0
|  | C | Other project type | 1362 | Conservation, Water Loss Control - Fate | 404091 | 2020 | Fate | Water Loss Control | Municipal conservation |  | 14 | 18 | 0 | 0 | 0 | 0
|  | C | Other project type | 1363 | Conservation, Water Loss Control - Ferris | 31341 | 2020 | Ferris | Water Loss Control | Municipal conservation |  | 2 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1364 | Conservation, Water Loss Control - Files Valley WSC | 2291 | 2020 | Files Valley WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1366 | Conservation, Water Loss Control - Flower Mound | 3422971 | 2020 | Flower Mound | Water Loss Control | Municipal conservation |  | 95 | 105 | 0 | 0 | 0 | 0
|  | C | Other project type | 1367 | Conservation, Water Loss Control - Forest Hill | 191853 | 2020 | Forest Hill | Water Loss Control | Municipal conservation |  | 7 | 7 | 0 | 0 | 0 | 0
|  | C | Other project type | 1368 | Conservation, Water Loss Control - Forney | 219451 | 2020 | Forney | Water Loss Control | Municipal conservation |  | 15 | 18 | 0 | 0 | 0 | 0
|  | C | Other project type | 1369 | Conservation, Water Loss Control - Forney Lake WSC | 103609 | 2020 | Forney Lake WSC | Water Loss Control | Municipal conservation |  | 6 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1370 | Conservation, Water Loss Control - Fort Worth | 195851589 | 2020 | Fort Worth | Water Loss Control | Municipal conservation |  | 17960 | 20007 | 8588 | 6336 | 3439 | 0
|  | C | Other project type | 1554 | Conservation, Water Loss Control - Freestone County | 9159 | 2020 | Municipal county-other (Freestone) | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1371 | Conservation, Water Loss Control - Frisco | 8759700 | 2020 | Frisco | Water Loss Control | Municipal conservation |  | 229 | 256 | 0 | 0 | 0 | 0
|  | C | Other project type | 2925 | Conservation, Water Loss Control - Frognot WSC | 8218 | 2020 | Frognot WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1373 | Conservation, Water Loss Control - Gainesville | 339073 | 2020 | Gainesville | Water Loss Control | Municipal conservation |  | 13 | 14 | 0 | 0 | 0 | 0
|  | C | Other project type | 1374 | Conservation, Water Loss Control - Garland | 6779585 | 2020 | Garland | Water Loss Control | Municipal conservation |  | 206 | 219 | 0 | 0 | 0 | 0
|  | C | Other project type | 1376 | Conservation, Water Loss Control - Gastonia-Scurry SUD | 40309 | 2020 | Gastonia Scurry SUD | Water Loss Control | Municipal conservation |  | 4 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1377 | Conservation, Water Loss Control - Glenn Heights | 86942 | 2020 | Glenn Heights | Water Loss Control | Municipal conservation |  | 10 | 13 | 0 | 0 | 0 | 0
|  | C | Other project type | 1378 | Conservation, Water Loss Control - Grand Prairie | 1521652 | 2020 | Grand Prairie | Water Loss Control | Municipal conservation |  | 352 | 408 | 0 | 0 | 0 | 0
|  | C | Other project type | 1379 | Conservation, Water Loss Control - Grapevine | 3773715 | 2020 | Grapevine | Water Loss Control | Municipal conservation |  | 92 | 94 | 0 | 0 | 0 | 0
|  | C | Other project type | 1555 | Conservation, Water Loss Control - Grayson County | 17821 | 2020 | Municipal county-other (Grayson) | Water Loss Control | Municipal conservation |  | 4 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1381 | Conservation, Water Loss Control - Gunter | 22898 | 2020 | Gunter | Water Loss Control | Municipal conservation |  | 11 | 42 | 0 | 0 | 0 | 0
|  | C | Other project type | 1382 | Conservation, Water Loss Control - Hackberry | 15159 | 2020 | Hackberry | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1383 | Conservation, Water Loss Control - Haltom City | 761824 | 2020 | Haltom City | Water Loss Control | Municipal conservation |  | 26 | 26 | 0 | 0 | 0 | 0
|  | C | Other project type | 1384 | Conservation, Water Loss Control - Haslet | 72056 | 2020 | Haslet | Water Loss Control | Municipal conservation |  | 3 | 9 | 0 | 0 | 0 | 0
|  | C | Other project type | 1385 | Conservation, Water Loss Control - Heath | 662052 | 2020 | Heath | Water Loss Control | Municipal conservation |  | 20 | 28 | 0 | 0 | 0 | 0
|  | C | Other project type | 1556 | Conservation, Water Loss Control - Henderson County | 4793 | 2020 | Municipal county-other (Henderson) | Water Loss Control | Municipal conservation |  | 2 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1388 | Conservation, Water Loss Control - High Point WSC | 10172 | 2020 | High Point WSC | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1389 | Conservation, Water Loss Control - Highland Park | 411107 | 2020 | Highland Park | Water Loss Control | Municipal conservation |  | 20 | 21 | 0 | 0 | 0 | 0
|  | C | Other project type | 1390 | Conservation, Water Loss Control - Highland Village | 637042 | 2020 | Highland Village | Water Loss Control | Municipal conservation |  | 19 | 20 | 0 | 0 | 0 | 0
|  | C | Other project type | 1391 | Conservation, Water Loss Control - Honey Grove | 25668 | 2020 | Honey Grove | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 2927 | Conservation, Water Loss Control - Horseshoe Bend Water System | 12104 | 2020 | Horseshoe Bend Water System | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1392 | Conservation, Water Loss Control - Howe | 28900 | 2020 | Howe | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1393 | Conservation, Water Loss Control - Hudson Oaks | 170437 | 2020 | Hudson Oaks | Water Loss Control | Municipal conservation |  | 7 | 9 | 0 | 0 | 0 | 0
|  | C | Other project type | 1394 | Conservation, Water Loss Control - Hurst | 1062568 | 2020 | Hurst | Water Loss Control | Municipal conservation |  | 33 | 33 | 0 | 0 | 0 | 0
|  | C | Other project type | 1395 | Conservation, Water Loss Control - Hutchins | 415355 | 2020 | Hutchins | Water Loss Control | Municipal conservation |  | 11 | 15 | 0 | 0 | 0 | 0
|  | C | Other project type | 1396 | Conservation, Water Loss Control - Irving | 2126293 | 2020 | Irving | Water Loss Control | Municipal conservation |  | 279 | 311 | 0 | 0 | 0 | 0
|  | C | Other project type | 1397 | Conservation, Water Loss Control - Italy | 7419 | 2020 | Italy | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1557 | Conservation, Water Loss Control - Jack County | 12542 | 2020 | Municipal county-other (Jack) | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1398 | Conservation, Water Loss Control - Jacksboro | 17449 | 2020 | Jacksboro | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1399 | Conservation, Water Loss Control - Johnson County SUD | 6197 | 2020 | Johnson County SUD | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1400 | Conservation, Water Loss Control - Josephine | 26276 | 2020 | Josephine | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1401 | Conservation, Water Loss Control - Justin | 68869 | 2020 | Justin | Water Loss Control | Municipal conservation |  | 8 | 12 | 0 | 0 | 0 | 0
|  | C | Other project type | 1402 | Conservation, Water Loss Control - Kaufman | 70962 | 2020 | Kaufman | Water Loss Control | Municipal conservation |  | 6 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1558 | Conservation, Water Loss Control - Kaufman County | 2712 | 2020 | Municipal county-other (Kaufman) | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 2916 | Conservation, Water Loss Control - Kaufman County Development District 1 | 25007 | 2020 | Kaufman County Development District 1 | Water Loss Control | Municipal conservation |  | 4 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1309 | Conservation, Water Loss Control - Kaufman County MUD 11 | 81738 | 2020 | Kaufman County MUD 11 | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1403 | Conservation, Water Loss Control - Keller | 1328066 | 2020 | Keller | Water Loss Control | Municipal conservation |  | 124 | 132 | 0 | 0 | 0 | 0
|  | C | Other project type | 1404 | Conservation, Water Loss Control - Kemp | 13716 | 2020 | Kemp | Water Loss Control | Municipal conservation |  | 7 | 21 | 23 | 29 | 45 | 63
|  | C | Other project type | 1405 | Conservation, Water Loss Control - Kennedale | 172467 | 2020 | Kennedale | Water Loss Control | Municipal conservation |  | 7 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1406 | Conservation, Water Loss Control - Kentucky Town WSC | 18044 | 2020 | Kentuckytown WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1407 | Conservation, Water Loss Control - Kerens | 6764 | 2020 | Kerens | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1409 | Conservation, Water Loss Control - Krum | 118516 | 2020 | Krum | Water Loss Control | Municipal conservation |  | 6 | 7 | 0 | 0 | 0 | 0
|  | C | Other project type | 1410 | Conservation, Water Loss Control - Ladonia | 1864 | 2020 | Ladonia | Water Loss Control | Municipal conservation |  | 2 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 2929 | Conservation, Water Loss Control - Lake Cities MUA | 316302 | 2020 | Lake Cities Municipal Utility Authority | Water Loss Control | Municipal conservation |  | 11 | 12 | 0 | 0 | 0 | 0
|  | C | Other project type | 1412 | Conservation, Water Loss Control - Lake Kiowa SUD | 148550 | 2020 | Lake Kiowa SUD | Water Loss Control | Municipal conservation |  | 4 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 1413 | Conservation, Water Loss Control - Lake Worth | 2384665 | 2020 | Lake Worth | Water Loss Control | Municipal conservation |  | 6 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1414 | Conservation, Water Loss Control - Lakeside | 9846 | 2020 | Lakeside | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1416 | Conservation, Water Loss Control - Lancaster | 1308675 | 2020 | Lancaster | Water Loss Control | Municipal conservation |  | 38 | 49 | 0 | 0 | 0 | 0
|  | C | Other project type | 1420 | Conservation, Water Loss Control - Leonard | 19291 | 2020 | Leonard | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1421 | Conservation, Water Loss Control - Lewisville | 1437939 | 2020 | Lewisville | Water Loss Control | Municipal conservation |  | 101 | 112 | 0 | 0 | 0 | 0
|  | C | Other project type | 1422 | Conservation, Water Loss Control - Lindsay | 15743 | 2020 | Lindsay | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1423 | Conservation, Water Loss Control - Little Elm | 361083 | 2020 | Little Elm | Water Loss Control | Municipal conservation |  | 20 | 23 | 0 | 0 | 0 | 0
|  | C | Other project type | 1426 | Conservation, Water Loss Control - Lucas | 112910 | 2020 | Lucas | Water Loss Control | Municipal conservation |  | 55 | 159 | 191 | 222 | 248 | 248
|  | C | Other project type | 1427 | Conservation, Water Loss Control - Luella SUD | 23749 | 2020 | Luella SUD | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1437 | Conservation, Water Loss Control - M-E-N WSC | 24737 | 2020 | M E N WSC | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1428 | Conservation, Water Loss Control - Mabank | 134425 | 2020 | Mabank | Water Loss Control | Municipal conservation |  | 10 | 11 | 0 | 0 | 0 | 0
|  | C | Other project type | 1430 | Conservation, Water Loss Control - Malakoff | 22166 | 2020 | Malakoff | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1431 | Conservation, Water Loss Control - Mansfield | 3734784 | 2020 | Mansfield | Water Loss Control | Municipal conservation |  | 93 | 117 | 0 | 0 | 0 | 0
|  | C | Other project type | 1432 | Conservation, Water Loss Control - Marilee SUD | 1169389 | 2020 | Marilee SUD | Water Loss Control | Municipal conservation |  | 6 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 2930 | Conservation, Water Loss Control - Markout WSC | 35133 | 2020 | Markout WSC | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1434 | Conservation, Water Loss Control - McKinney | 775316 | 2020 | McKinney | Water Loss Control | Municipal conservation |  | 337 | 657 | 479 | 579 | 693 | 751
|  | C | Other project type | 1436 | Conservation, Water Loss Control - Melissa | 177086 | 2020 | Melissa | Water Loss Control | Municipal conservation |  | 20 | 62 | 0 | 0 | 0 | 0
|  | C | Other project type | 1438 | Conservation, Water Loss Control - Mesquite | 3709960 | 2020 | Mesquite | Water Loss Control | Municipal conservation |  | 112 | 119 | 0 | 0 | 0 | 0
|  | C | Other project type | 1439 | Conservation, Water Loss Control - Midlothian | 719507 | 2020 | Midlothian | Water Loss Control | Municipal conservation |  | 24 | 35 | 0 | 0 | 0 | 0
|  | C | Other project type | 2931 | Conservation, Water Loss Control - Milligan WSC | 63934 | 2020 | Milligan WSC | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1441 | Conservation, Water Loss Control - Mineral Wells | 7493 | 2020 | Mineral Wells | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1442 | Conservation, Water Loss Control - Mount Zion WSC | 61736 | 2020 | Mount Zion WSC | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1443 | Conservation, Water Loss Control - Mountain Peak SUD | 110785 | 2020 | Mountain Peak SUD | Water Loss Control | Municipal conservation |  | 121 | 419 | 422 | 603 | 698 | 782
|  | C | Other project type | 1444 | Conservation, Water Loss Control - Mountain Spring WSC | 24567 | 2020 | Mountain Springs WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1445 | Conservation, Water Loss Control - Muenster | 25014 | 2020 | Muenster | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1446 | Conservation, Water Loss Control - Murphy | 68544 | 2020 | Murphy | Water Loss Control | Municipal conservation |  | 22 | 22 | 0 | 0 | 0 | 0
|  | C | Other project type | 1447 | Conservation, Water Loss Control - Mustang SUD | 674034 | 2020 | Mustang SUD | Water Loss Control | Municipal conservation |  | 23 | 42 | 0 | 0 | 0 | 0
|  | C | Other project type | 1559 | Conservation, Water Loss Control - Navarro County | 5296 | 2020 | Municipal county-other (Navarro) | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1448 | Conservation, Water Loss Control - Navarro Mills WSC | 10610 | 2020 | Navarro Mills WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 2934 | Conservation, Water Loss Control - Nevada SUD | 15904 | 2020 | Nevada SUD | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1452 | Conservation, Water Loss Control - Newark | 1083 | 2020 | Newark | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1453 | Conservation, Water Loss Control - North Collin WSC | 21134 | 2020 | North Collin SUD | Water Loss Control | Municipal conservation |  | 4 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 2939 | Conservation, Water Loss Control - North Farmersville | 6269 | 2020 | North Farmersville WSC | Water Loss Control | Municipal conservation |  | 0 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 2940 | Conservation, Water Loss Control - North Kaufman WSC | 11783 | 2020 | North Kaufman WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1454 | Conservation, Water Loss Control - North Richland Hills | 2095999 | 2020 | North Richland Hills | Water Loss Control | Municipal conservation |  | 64 | 67 | 0 | 0 | 0 | 0
|  | C | Other project type | 1455 | Conservation, Water Loss Control - Northlake | 147109 | 2020 | Northlake | Water Loss Control | Municipal conservation |  | 10 | 22 | 0 | 0 | 0 | 0
|  | C | Other project type | 1365 | Conservation, Water Loss Control - Northwest Grayson County WDIS1 | 4053 | 2020 | Northwest Grayson County WCID 1 | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 2942 | Conservation, Water Loss Control - Oak Ridge South Gale WSC | 6787 | 2020 | Oak Ridge South Gale WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1461 | Conservation, Water Loss Control - Ovilla | 30476 | 2020 | Ovilla | Water Loss Control | Municipal conservation |  | 38 | 129 | 151 | 192 | 234 | 429
|  | C | Other project type | 1462 | Conservation, Water Loss Control - Palmer | 33764 | 2020 | Palmer | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1463 | Conservation, Water Loss Control - Paloma Creek North | 78917 | 2020 | Paloma Creek North | Water Loss Control | Municipal conservation |  | 9 | 12 | 0 | 0 | 0 | 0
|  | C | Other project type | 1429 | Conservation, Water Loss Control - Paloma Creek South | 37878 | 2020 | Paloma Creek South | Water Loss Control | Municipal conservation |  | 4 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1464 | Conservation, Water Loss Control - Pantego | 105058 | 2020 | Pantego | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1465 | Conservation, Water Loss Control - Parker | 178062 | 2020 | Parker | Water Loss Control | Municipal conservation |  | 16 | 15 | 0 | 0 | 0 | 0
|  | C | Other project type | 1560 | Conservation, Water Loss Control - Parker County | 838090 | 2020 | Municipal county-other (Parker) | Water Loss Control | Municipal conservation |  | 33 | 31 | 0 | 0 | 0 | 0
|  | C | Other project type | 1466 | Conservation, Water Loss Control - Parker County SUD | 48090 | 2020 | Parker County SUD | Water Loss Control | Municipal conservation |  | 4 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1469 | Conservation, Water Loss Control - Pelican Bay | 4028 | 2020 | Pelican Bay | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1470 | Conservation, Water Loss Control - Pilot Point | 104529 | 2020 | Pilot Point | Water Loss Control | Municipal conservation |  | 4 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 2943 | Conservation, Water Loss Control - Pink Hill WSC | 10957 | 2020 | Pink Hill WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1471 | Conservation, Water Loss Control - Plano | 1563143 | 2020 | Plano | Water Loss Control | Municipal conservation |  | 369 | 370 | 0 | 0 | 0 | 0
|  | C | Other project type | 2944 | Conservation, Water Loss Control - Pleasant Grove WSC | 3871 | 2020 | Pleasant Grove WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 2945 | Conservation, Water Loss Control - Poetry WSC | 3186 | 2020 | Poetry WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1472 | Conservation, Water Loss Control - Ponder | 11730 | 2020 | Ponder | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1474 | Conservation, Water Loss Control - Pottsboro | 26823 | 2020 | Pottsboro | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1475 | Conservation, Water Loss Control - Princeton | 118491 | 2020 | Princeton | Water Loss Control | Municipal conservation |  | 6 | 20 | 0 | 0 | 0 | 0
|  | C | Other project type | 1476 | Conservation, Water Loss Control - Prosper | 859194 | 2020 | Prosper | Water Loss Control | Municipal conservation |  | 26 | 35 | 0 | 0 | 0 | 0
|  | C | Other project type | 1477 | Conservation, Water Loss Control - Providence Village WCID | 133467 | 2020 | Providence Village WCID | Water Loss Control | Municipal conservation |  | 5 | 5 | 0 | 0 | 0 | 0
|  | C | Other project type | 2948 | Conservation, Water Loss Control - R C H WSC | 75116 | 2020 | R C H WSC | Water Loss Control | Municipal conservation |  | 5 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1478 | Conservation, Water Loss Control - Red Oak | 88296 | 2020 | Red Oak | Water Loss Control | Municipal conservation |  | 6 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 2949 | Conservation, Water Loss Control - Red River Authority of Texas | 30217 | 2020 | Red River Authority of Texas | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1479 | Conservation, Water Loss Control - Reno | 8218 | 2020 | Reno (Parker) | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1480 | Conservation, Water Loss Control - Rhome | 10212 | 2020 | Rhome | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1482 | Conservation, Water Loss Control - Rice WSC | 60243 | 2020 | Rice Water Supply and Sewer Service | Water Loss Control | Municipal conservation |  | 6 | 7 | 0 | 0 | 0 | 0
|  | C | Other project type | 1483 | Conservation, Water Loss Control - Richardson | 1093469 | 2020 | Richardson | Water Loss Control | Municipal conservation |  | 137 | 139 | 0 | 0 | 0 | 0
|  | C | Other project type | 1484 | Conservation, Water Loss Control - Richland Hills | 62079 | 2020 | Richland Hills | Water Loss Control | Municipal conservation |  | 6 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 1485 | Conservation, Water Loss Control - River Oaks | 118161 | 2020 | River Oaks | Water Loss Control | Municipal conservation |  | 8 | 8 | 0 | 0 | 0 | 0
|  | C | Other project type | 1486 | Conservation, Water Loss Control - Roanoke | 108611 | 2020 | Roanoke | Water Loss Control | Municipal conservation |  | 11 | 14 | 0 | 0 | 0 | 0
|  | C | Other project type | 1487 | Conservation, Water Loss Control - Rockett SUD | 584694 | 2020 | Rockett SUD | Water Loss Control | Municipal conservation |  | 23 | 29 | 0 | 0 | 0 | 0
|  | C | Other project type | 1488 | Conservation, Water Loss Control - Rockwall | 1600987 | 2020 | Rockwall | Water Loss Control | Municipal conservation |  | 50 | 72 | 0 | 0 | 0 | 0
|  | C | Other project type | 1561 | Conservation, Water Loss Control - Rockwall County | 10452 | 2020 | Municipal county-other (Rockwall) | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1489 | Conservation, Water Loss Control - Rose Hill SUD | 24571 | 2020 | Rose Hill SUD | Water Loss Control | Municipal conservation |  | 2 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1490 | Conservation, Water Loss Control - Rowlett | 792959 | 2020 | Rowlett | Water Loss Control | Municipal conservation |  | 52 | 55 | 0 | 0 | 0 | 0
|  | C | Other project type | 1491 | Conservation, Water Loss Control - Royse City | 139057 | 2020 | Royse City | Water Loss Control | Municipal conservation |  | 7 | 11 | 0 | 0 | 0 | 0
|  | C | Other project type | 1492 | Conservation, Water Loss Control - Runaway Bay | 15113 | 2020 | Runaway Bay | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1493 | Conservation, Water Loss Control - Sachse | 348028 | 2020 | Sachse | Water Loss Control | Municipal conservation |  | 26 | 26 | 0 | 0 | 0 | 0
|  | C | Other project type | 1494 | Conservation, Water Loss Control - Saginaw | 1169389 | 2020 | Saginaw | Water Loss Control | Municipal conservation |  | 16 | 18 | 0 | 0 | 0 | 0
|  | C | Other project type | 1495 | Conservation, Water Loss Control - Sanger | 64721 | 2020 | Sanger | Water Loss Control | Municipal conservation |  | 6 | 7 | 0 | 0 | 0 | 0
|  | C | Other project type | 1496 | Conservation, Water Loss Control - Sansom Park | 5993 | 2020 | Sansom Park | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1497 | Conservation, Water Loss Control - Sardis Lone Elm WSC | 238415 | 2020 | Sardis Lone Elm WSC | Water Loss Control | Municipal conservation |  | 27 | 35 | 0 | 0 | 0 | 0
|  | C | Other project type | 1500 | Conservation, Water Loss Control - Seagoville | 311822 | 2020 | Seagoville | Water Loss Control | Municipal conservation |  | 10 | 12 | 0 | 0 | 0 | 0
|  | C | Other project type | 1501 | Conservation, Water Loss Control - Seis Lagos UD | 162761 | 2020 | Seis Lagos UD | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1504 | Conservation, Water Loss Control - Sherman | 628668 | 2020 | Sherman | Water Loss Control | Municipal conservation |  | 54 | 55 | 0 | 0 | 0 | 0
|  | C | Other project type | 2952 | Conservation, Water Loss Control - South Freestone County WSC | 9541 | 2020 | South Freestone County WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1505 | Conservation, Water Loss Control - South Grayson WSC | 7852 | 2020 | South Grayson SUD | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1506 | Conservation, Water Loss Control - Southlake | 1977712 | 2020 | Southlake | Water Loss Control | Municipal conservation |  | 57 | 64 | 0 | 0 | 0 | 0
|  | C | Other project type | 1507 | Conservation, Water Loss Control - Southmayd | 10849 | 2020 | Southmayd | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1508 | Conservation, Water Loss Control - Southwest Fannin County SUD | 14710 | 2020 | Southwest Fannin County SUD | Water Loss Control | Municipal conservation |  | 3 | 3 | 0 | 0 | 0 | 0
|  | C | Other project type | 1509 | Conservation, Water Loss Control - Springtown | 35894 | 2020 | Springtown | Water Loss Control | Municipal conservation |  | 56 | 208 | 201 | 200 | 200 | 200
|  | C | Other project type | 2953 | Conservation, Water Loss Control - Starr WSC | 14384 | 2020 | Starr WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1511 | Conservation, Water Loss Control - Sunnyvale | 89962 | 2020 | Sunnyvale | Water Loss Control | Municipal conservation |  | 11 | 16 | 0 | 0 | 0 | 0
|  | C | Other project type | 1513 | Conservation, Water Loss Control - Talty WSC | 184178 | 2020 | Talty SUD | Water Loss Control | Municipal conservation |  | 9 | 10 | 0 | 0 | 0 | 0
|  | C | Other project type | 1562 | Conservation, Water Loss Control - Tarrant County | 165969 | 2020 | Municipal county-other (Tarrant) | Water Loss Control | Municipal conservation |  | 36 | 34 | 0 | 0 | 0 | 0
|  | C | Other project type | 1514 | Conservation, Water Loss Control - Teague | 14991 | 2020 | Teague | Water Loss Control | Municipal conservation |  | 21 | 61 | 74 | 97 | 117 | 137
|  | C | Other project type | 1515 | Conservation, Water Loss Control - Terrell | 512507 | 2020 | Terrell | Water Loss Control | Municipal conservation |  | 19 | 36 | 0 | 0 | 0 | 0
|  | C | Other project type | 1516 | Conservation, Water Loss Control - The Colony | 616616 | 2020 | The Colony | Water Loss Control | Municipal conservation |  | 40 | 43 | 0 | 0 | 0 | 0
|  | C | Other project type | 1517 | Conservation, Water Loss Control - Tioga | 14836 | 2020 | Tioga | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1518 | Conservation, Water Loss Control - Tom Bean | 9742 | 2020 | Tom Bean | Water Loss Control | Municipal conservation |  | 1 | 20 | 62 | 69 | 84 | 126
|  | C | Other project type | 1520 | Conservation, Water Loss Control - Trenton | 1908 | 2020 | Trenton | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1521 | Conservation, Water Loss Control - Trinidad | 5961 | 2020 | Trinidad | Water Loss Control | Municipal conservation |  | 1 | 0 | 0 | 0 | 0 | 0
|  | C | Other project type | 1522 | Conservation, Water Loss Control - Trophy Club | 1042999 | 2020 | Trophy Club MUD 1 | Water Loss Control | Municipal conservation |  | 24 | 24 | 0 | 0 | 0 | 0
|  | C | Other project type | 1523 | Conservation, Water Loss Control - Two Way SUD | 39344 | 2020 | Two Way SUD | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1524 | Conservation, Water Loss Control - University Park | 4677554 | 2020 | University Park | Water Loss Control | Municipal conservation |  | 38 | 38 | 0 | 0 | 0 | 0
|  | C | Other project type | 1526 | Conservation, Water Loss Control - Van Alstyne | 41490 | 2020 | Van Alstyne | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 2954 | Conservation, Water Loss Control - Verona SUD | 15102 | 2020 | Verona SUD | Water Loss Control | Municipal conservation |  | 1 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1528 | Conservation, Water Loss Control - Virginia Hill WSC | 6596 | 2020 | Virginia Hill WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1529 | Conservation, Water Loss Control - Walnut Creek SUD | 76702 | 2020 | Walnut Creek SUD | Water Loss Control | Municipal conservation |  | 8 | 9 | 0 | 0 | 0 | 0
|  | C | Other project type | 1530 | Conservation, Water Loss Control - Watauga | 451306 | 2020 | Watauga | Water Loss Control | Municipal conservation |  | 14 | 14 | 0 | 0 | 0 | 0
|  | C | Other project type | 1531 | Conservation, Water Loss Control - Waxahachie | 1754083 | 2020 | Waxahachie | Water Loss Control | Municipal conservation |  | 34 | 39 | 0 | 0 | 0 | 0
|  | C | Other project type | 1532 | Conservation, Water Loss Control - Weatherford | 3853135 | 2020 | Weatherford | Water Loss Control | Municipal conservation |  | 27 | 61 | 95 | 158 | 258 | 355
|  | C | Other project type | 1533 | Conservation, Water Loss Control - West Cedar Creek MUD | 58343 | 2020 | West Cedar Creek MUD | Water Loss Control | Municipal conservation |  | 6 | 6 | 0 | 0 | 0 | 0
|  | C | Other project type | 2955 | Conservation, Water Loss Control - West Leonard WSC | 11752 | 2020 | West Leonard WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1534 | Conservation, Water Loss Control - West Wise SUD | 32789 | 2020 | West Wise SUD | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1535 | Conservation, Water Loss Control - Westlake | 42776 | 2020 | Westlake | Water Loss Control | Municipal conservation |  | 9 | 24 | 0 | 0 | 0 | 0
|  | C | Other project type | 2956 | Conservation, Water Loss Control - Westminster WSC | 16477 | 2020 | Westminster WSC | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1537 | Conservation, Water Loss Control - Westover Hills | 295923 | 2020 | Westover Hills | Water Loss Control | Municipal conservation |  | 5 | 19 | 44 | 45 | 46 | 47
|  | C | Other project type | 1538 | Conservation, Water Loss Control - Westworth Village | 62467 | 2020 | Westworth Village | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1539 | Conservation, Water Loss Control - White Settlement | 53447 | 2020 | White Settlement | Water Loss Control | Municipal conservation |  | 10 | 11 | 0 | 0 | 0 | 0
|  | C | Other project type | 2957 | Conservation, Water Loss Control - White Shed WSC | 14466 | 2020 | White Shed WSC | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1540 | Conservation, Water Loss Control - Whitesboro | 44649 | 2020 | Whitesboro | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1541 | Conservation, Water Loss Control - Whitewright | 21871 | 2020 | Whitewright | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1542 | Conservation, Water Loss Control - Willow Park | 63875 | 2020 | Willow Park | Water Loss Control | Municipal conservation |  | 8 | 12 | 0 | 0 | 0 | 0
|  | C | Other project type | 1543 | Conservation, Water Loss Control - Wilmer | 13132 | 2020 | Wilmer | Water Loss Control | Municipal conservation |  | 2 | 2 | 0 | 0 | 0 | 0
|  | C | Other project type | 1563 | Conservation, Water Loss Control - Wise County | 122652 | 2020 | Municipal county-other (Wise) | Water Loss Control | Municipal conservation |  | 20 | 20 | 0 | 0 | 0 | 0
|  | C | Other project type | 1544 | Conservation, Water Loss Control - Woodbine WSC | 27709 | 2020 | Woodbine WSC | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1545 | Conservation, Water Loss Control - Wortham | 8939 | 2020 | Wortham | Water Loss Control | Municipal conservation |  | 1 | 1 | 0 | 0 | 0 | 0
|  | C | Other project type | 1546 | Conservation, Water Loss Control - Wylie | 462569 | 2020 | Wylie | Water Loss Control | Municipal conservation |  | 36 | 37 | 0 | 0 | 0 | 0
|  | C | Other project type | 1547 | Conservation, Water Loss Control - Wylie Northeast SUD | 175408 | 2020 | Wylie Northeast SUD | Water Loss Control | Municipal conservation |  | 3 | 4 | 0 | 0 | 0 | 0
|  | C | Other project type | 1081 | County Other, Jack - Infrastructure to Connect to Jacksboro | 2152000 | 2020 | Municipal county-other (Jack) | Conveyance/Transmission Pipeline; Pump Station | Other surface water | Reservoir System | 7 | 7 | 7 | 7 | 7 | 7
|  | C | Other project type | 1082 | County Other, Jack - Infrastructure to Connect to Walnut Creek SUD | 5002000 | 2020 | Municipal county-other (Jack) | Conveyance/Transmission Pipeline; Pump Station | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 7 | 12 | 16 | 24 | 29 | 32
|  | C | Other project type | 1079 | County Other, Kaufman - WTP and Connect to TRWD | 11016000 | 2020 | Municipal county-other (Kaufman) | Conveyance/Transmission Pipeline; New Water Treatment Plant; Pump Station | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 58 | 53 | 86 | 91 | 157 | 328
|  | C | Other project type | 1103 | County Other, Parker - New Well(s) in Trinity Aquifer | 2157000 | 2020 | Municipal county-other (Parker) | Conveyance/Transmission Pipeline; New Water Treatment Plant; Pump Station; Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 235 | 235 | 235 | 235 | 235 | 235
|  | C | Other project type | 1032 | County-Other, Denton - New Well(s) in Trinity Aquifer | 5387000 | 2020 | Municipal county-other (Denton) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 504 | 504 | 504 | 504 | 504 | 504
|  | C | Other project type | 1031 | County-Other, Denton - New Well(s) in Woodbine Aquifer | 8554000 | 2020 | Municipal county-other (Denton) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 817 | 817 | 817 | 817 | 817 | 817
|  | C | Other project type | 4016 | Cross Timbers WSC - New Well(s) in Trinity Aquifer | 2955000 | 2020 | Cross Timbers WSC | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 250 | 250 | 250 | 250 | 250 | 250
|  | C | Other project type | 4017 | Dorchester - New Well(s) in Trinity Aquifer | 1845000 | 2020 | Dorchester | Single Well | Groundwater wells and other | Groundwater | 0 | 90 | 90 | 90 | 90 | 90
|  | C | Other project type | 4100 | Flower Mound - Alliance Direct Reuse | 1732000 | 2020 | Flower Mound | Conveyance/Transmission Pipeline; Pump Station; Water Treatment Plant Expansion | Other direct reuse | Direct Non-Potable Reuse | 0 | 2903 | 7254 | 8310 | 8396 | 8396
|  | C | Related to out of state source | 1084 | Forney - Increase Delivery Infrastructure from NTWMD | 13054000 | 2020 | Forney | Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 436 | 892 | 1558 | 2977 | 5187
|  | C | Other project type | 998 | Fort Worth Direct Reuse - Alliance Corridor | 23008000 | 2020 | Fort Worth | Water Treatment Plant Expansion; Conveyance/Transmission Pipeline; Pump Station | Other direct reuse | Direct Non-Potable Reuse | 0 | 2903 | 7254 | 8310 | 8396 | 8396
|  | C | Other project type | 4075 | Fort Worth Mary's Creek WRF Future Direct Reuse | 46576000 | 2020 | Fort Worth | Conveyance/Transmission Pipeline; Pump Station; Water Treatment Plant Expansion | Other direct reuse | Direct Non-Potable Reuse | 0 | 6687 | 6687 | 6687 | 6687 | 6687
|  | C | Other project type | 997 | Fort Worth Village Creek WRF Future Direct Reuse | 97410000 | 2020 | Fort Worth | Conveyance/Transmission Pipeline; Pump Station; Water Treatment Plant Expansion | Other direct reuse | Direct Non-Potable Reuse | 0 | 6687 | 6687 | 6687 | 6687 | 6687
|  | C | Other project type | 1004 | Frisco - Direct Reuse | 77241000 | 2020 | Frisco | Conveyance/Transmission Pipeline; Pump Station; Storage Tank | Other direct reuse | Direct Non-Potable Reuse | 325 | 594 | 856 | 1118 | 1379 | 1379
|  | C | Other project type | 1011 | Gainesville - Expand Direct Reuse | 2026000 | 2020 | Gainesville | Conveyance/Transmission Pipeline; Pump Station | Other direct reuse | Direct Non-Potable Reuse | 169 | 137 | 141 | 144 | 147 | 150
|  | C | Other project type | 1018 | Grand Prairie - Additional Delivery Infrastructure from DWU | 72782000 | 2020 | Grand Prairie | Conveyance/Transmission Pipeline; Pump Station | Other surface water | Run-of-River | 0 | 0 | 0 | 0 | 1522 | 1385
|  | C | Surface water desalination | 3849 | GTUA - Regional Water System Phase 1 | 243986000 | 2020 | Greater Texoma Utility Authority | Water Treatment Plant Expansion; Conveyance/Transmission Pipeline; Pump Station; Storage Tank | Other strategies | Reservoir | 0 | 7871 | 14801 | 17592 | 22572 | 22691
|  | C | Other project type | 1069 | Gunter - New Well(s) in Trinity Aquifer | 1835000 | 2020 | Gunter | Single Well | Groundwater wells and other | Groundwater | 50 | 50 | 50 | 50 | 50 | 50
|  | C | Other project type | 4079 | Hudson Oaks - Direct Connection to Fort Worth | 5500000 | 2020 | Hudson Oaks | Conveyance/Transmission Pipeline; Pump Station; Storage Tank | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 299 | 482 | 598 | 670 | 720 | 763
|  | C | Other project type | 3823 | Irrigation, Fannin - New Well(s) in Trinity Aquifer | 234000 | 2020 | Irrigation (Fannin) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 1592 | 1592 | 1592 | 1592 | 1592 | 1592
|  | C | Other project type | 1034 | Justin - New Well(s) in Trinity Aquifer | 2377000 | 2020 | Justin | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 244 | 244 | 244 | 244 | 244 | 244
|  | C | Other project type | 1035 | Krum - New Well(s) in Trinity Aquifer | 1805000 | 2020 | Krum | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 202 | 202 | 202 | 202 | 202 | 202
|  | C | Other project type | 3831 | Lakeside - New Well(s) in Trinity Aquifer | 1413000 | 2020 | Lakeside | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 58 | 61 | 71 | 80 | 77 | 76
|  | C | Other project type | 3830 | Livestock, Henderson - New Well(s) in Carrizo-Wilcox Aquifer | 3469000 | 2020 | Livestock (Henderson) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 403 | 403 | 403 | 403 | 403 | 403
|  | C | Other project type | 3832 | Livestock, Tarrant - New Well(s) in Trinity Aquifer | 584000 | 2020 | Livestock (Tarrant) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 75 | 75 | 75 | 75 | 75 | 75
|  | C | Other project type | 917 | Mabank - 3 MGD WTP Expansion | 19817000 | 2020 | Mabank | Water Treatment Plant Expansion | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 596 | 734 | 797 | 1497 | 2576 | 4069
|  | C | Other project type | 1138 | Manufacturing, Wise County - New Well(s) in Trinity Aquifer | 502000 | 2020 | Manufacturing (Wise) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 201 | 201 | 201 | 201 | 201 | 201
|  | C | Other project type | 924 | Midlothian - Expand Auger WTP to 16 MGD | 7498000 | 2020 | Midlothian | Water Treatment Plant Expansion | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 1399 | 5147 | 5627 | 4741 | 4733 | 5131
|  | C | Other project type | 925 | Midlothian - Expand Auger WTP to 24 MGD | 24798000 | 2020 | Midlothian | Water Treatment Plant Expansion | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 1399 | 5147 | 5627 | 4741 | 4733 | 5131
|  | C | Other project type | 4025 | Midlothian - Expand Tayman WTP to 20 MGD | 46259000 | 2020 | Midlothian | Water Treatment Plant Expansion | Indirect reuse | Indirect Potable Reuse | 2107 | 9203 | 10100 | 10224 | 10324 | 10470
|  | C | Other project type | 1068 | Mining, Grayson County - New Well(s) in Trinity Aquifer | 806000 | 2020 | Mining (Grayson) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 100 | 100 | 100 | 100 | 100 | 100
|  | C | Other project type | 1015 | Muenster - Develop Lake Muenster Supply | 9998000 | 2020 | Muenster | Conveyance/Transmission Pipeline; New Surface Water Intake; New Water Treatment Plant; Pump Station | Other surface water | Reservoir | 280 | 280 | 280 | 280 | 280 | 280
|  | C | Other project type | 1136 | Newark - Connect to Rhome | 1584000 | 2020 | Newark | Conveyance/Transmission Pipeline | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 13 | 39 | 88 | 188 | 349 | 546
|  | C | Other project type | 3826 | Northwest Grayson County WCID 1 - New Well(s) in Trinity Aquifer | 2730000 | 2020 | Northwest Grayson County WCID 1 | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 29 | 29 | 34 | 55 | 130 | 247
|  | C | Other project type | 956 | NTMWD & Irving - Lake Chapman Pump Station Expansion | 43318000 | 2020 | Irving; North Texas MWD | Pump Station; Storage Tank | Indirect reuse | Indirect Non-Potable Reuse | 0 | 27539 | 27539 | 27539 | 27539 | 27539
|  | C | New major reservoir | 955 | NTMWD - Bois D'Arc Lake | 939638000 | 2020 | North Texas MWD | Conveyance/Transmission Pipeline; New Surface Water Intake; Pump Station; Reservoir Construction | New major reservoir | Reservoir | 50000 | 120200 | 120200 | 119200 | 118400 | 117600
|  | C | Other project type | 1145 | NTMWD Treatment & Treated Water Distribution Improvements 2020-2030 | 1693455000 | 2020 | North Texas MWD | Conveyance/Transmission Pipeline; New Water Treatment Plant; Pump Station; Water Treatment Plant Expansion | New major reservoir | Reservoir | 50000 | 120200 | 120200 | 119200 | 118400 | 117600
|  | C | Related to out of state source | 1006 | Parker - Additional Delivery Infrastructure from NTWMD | 4309000 | 2020 | Parker | Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 142 | 335 | 605 | 997 | 1373 | 1804
|  | C | Other project type | 4018 | Pelican Bay - New Well(s) in Trinity Aquifer | 529000 | 2020 | Pelican Bay | Single Well | Groundwater wells and other | Groundwater | 24 | 24 | 24 | 24 | 24 | 24
|  | C | Other project type | 1036 | Pilot Point - New Well(s) in Trinity Aquifer | 4127000 | 2020 | Pilot Point | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 313 | 313 | 313 | 313 | 313 | 313
|  | C | Related to out of state source | 1113 | Rockwall - Additional Delivery Infrastructure from NTWMD | 28750000 | 2020 | Rockwall | Conveyance/Transmission Pipeline; Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 1422 | 3088 | 4349 | 5965 | 7540
|  | C | Other project type | 932 | Runaway Bay - 3 MGD WTP Expansion-1 | 19823000 | 2020 | Runaway Bay | Water Treatment Plant Expansion | Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 6 | 77 | 130 | 231 | 315 | 447
|  | C | Other project type | 1047 | Sardis Lone Elm - Connect to TRWD | 11696000 | 2020 | Sardis Lone Elm WSC | Pump Station; Conveyance/Transmission Pipeline | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 767 | 1983 | 2582 | 2959 | 3410 | 3639
|  | C | Surface water desalination | 933 | Sherman - 10 MGD WTP Expansion (Desal)-1 | 82213000 | 2020 | Sherman | Water Treatment Plant Expansion | Other strategies | Reservoir | 0 | 10621 | 18076 | 22009 | 30759 | 40778
|  | C | Other project type | 3825 | South Freestone County WSC - New Well(s) in Carrizo-Wilcox Aquifer | 6485000 | 2020 | South Freestone County WSC | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 16 | 11 | 23 | 110 | 255 | 571
|  | C | Other project type | 1105 | Springtown - Infrastructure Improvements- Surface Water Treatment Plant & Supply Project | 4163000 | 2020 | Springtown | New Water Treatment Plant; Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System | 448 | 544 | 450 | 492 | 490 | 493
|  | C | Other project type | 1065 | Teague - New Wells in Carrizo-Wilcox Aquifer Q-135 | 5230000 | 2020 | Teague | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 13 | 0 | 169 | 409 | 613 | 822
|  | C | Related to out of state source | 1087 | Terrell - Ground Storage Tank and Pump Station at NTWMD Delivery Point | 3527000 | 2020 | Terrell | Pump Station; Storage Tank | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 1222 | 3763 | 5386 | 7023 | 9479
|  | C | Related to out of state source | 1088 | Terrell - Infrastructure Improvements to Wholesale Customer | 7945000 | 2020 | Terrell | Conveyance/Transmission Pipeline | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 1222 | 3763 | 5386 | 7023 | 9479
|  | C | Aquifer storage and recovery | 3841 | TRWD - ASR Pilot | 14264000 | 2020 | Tarrant Regional WD | Multiple Wells/Well Field | Aquifer storage and recovery | Aquifer Storage and Recovery | 2500 | 2500 | 5000 | 5000 | 5000 | 5000
|  | C | Other project type | 1150 | UTRWD WTP and Treated Water Distribution System Water Management Strategies 2020-2030 | 176357000 | 2020 | Upper Trinity Regional WD | Conveyance/Transmission Pipeline; Pump Station; Water Treatment Plant Expansion | Indirect reuse;New major reservoir | Indirect Potable Reuse;Reservoir | 0 | 53164 | 53831 | 64832 | 64716 | 68137
|  | C | Other project type | 856 | Walnut Creek SUD - 6 MGD WTP Expansion | 36582000 | 2020 | Walnut Creek SUD | New Water Treatment Plant | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 437 | 719 | 893 | 1639 | 2804 | 3998
|  | C | Other project type | 1132 | Watauga & N Richland Hills - Increase Delivery Infrastructure from Fort Worth | 9544000 | 2020 | North Richland Hills | Storage Tank; Conveyance/Transmission Pipeline; Pump Station | Aquifer storage and recovery;Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 0 | 204 | 463 | 370 | 462 | 584
|  | C | Other project type | 938 | Weatherford - 8 MGD WTP Expansion | 47753000 | 2020 | Weatherford | Water Treatment Plant Expansion | Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 0 | 18 | 16 | 1557 | 7478 | 13313
|  | C | Other project type | 4086 | Weatherford - Additional Indirect Reuse Phase 1 | 14840000 | 2020 | Weatherford | Pump Station; Water Treatment Plant Expansion; Conveyance/Transmission Pipeline | Indirect reuse | Indirect Potable Reuse | 2242 | 2803 | 3363 | 3363 | 3363 | 3363
|  | C | Other project type | 1108 | Weatherford - Expand Lake Benbrook Pump Station | 2299000 | 2020 | Weatherford | Pump Station | Groundwater wells and other;Indirect reuse;New major reservoir;Other surface water | Groundwater;Indirect Potable Reuse;Reservoir;Reservoir System | 0 | 18 | 16 | 1557 | 7478 | 13313
|  | C | Other project type | 1139 | Willow Park - Connect to Fort Worth | 4017000 | 2020 | Willow Park | Conveyance/Transmission Pipeline; Pump Station | Aquifer storage and recovery;Indirect reuse;New major reservoir;Other surface water | Aquifer Storage and Recovery;Indirect Potable Reuse;Reservoir;Reservoir System | 155 | 448 | 557 | 924 | 1307 | 1545
|  | C | Other project type | 1025 | Wilmer - Increase Capacity of Connection with Lancaster | 5280000 | 2020 | Wilmer | Storage Tank; Conveyance/Transmission Pipeline | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Run-of-River | 0 | 32 | 112 | 283 | 510 | 1018
|  | C | Other project type | 943 | Wise County WSD - 9 MGD WTP Expansion | 53339000 | 2020 | Wise County WSD | Water Treatment Plant Expansion | Other surface water | Reservoir System | 45 | 44 | 40 | 36 | 32 | 30

## SelectProjectsOnlineAfter2020
Tab 2: Select Recommended WMS projects associated with an online decade of later than 2020. See workbook data description tab for details about selected projects.
WMS Project identified as infeasible? (Y/N) | RWPG Comments | Project Sponsor Region | Project Category | WMS Project Id | WMS Project Name | Capital Cost | Online Decade | Project Sponsors | Project Components | Project Related WMS Types | Project Related Source Subtypes | Project Related Strategy Supply 2020 AFY | Project Related Strategy Supply 2030 AFY | Project Related Strategy Supply 2040 AFY | Project Related Strategy Supply 2050 AFY | Project Related Strategy Supply 2060 AFY | Project Related Strategy Supply 2070 AFY
|  | C | Related to out of state source | 1109 | Blackland WSC - Direct Connection to NTWMD | 6804000 | 2030 | Blackland WSC | Conveyance/Transmission Pipeline; Pump Station; Storage Tank | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 91 | 163 | 238 | 346 | 435
|  | C | Related to out of state source | 1001 | Celina - Connect to and Purchase Water from NTMWD | 17491000 | 2030 | Celina | Conveyance/Transmission Pipeline; Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 1500 | 3000 | 4863 | 4709 | 4193
|  | C | New major reservoir | 969 | DWU - Lake Columbia | 322267000 | 2070 | Dallas | New Contract; New Water Right/Permit Non-Exempt IBT; Conveyance/Transmission Pipeline; New Surface Water Intake; Pump Station; Reservoir Construction | New major reservoir | Reservoir | 0 | 0 | 0 | 0 | 0 | 56000
|  | C | New major reservoir | 834 | DWU - Main Stem Balancing Reservoir | 772904000 | 2050 | Dallas | Conveyance/Transmission Pipeline; Pump Station; Reservoir Construction; New Surface Water Intake | Indirect reuse;New major reservoir | Indirect Potable Reuse | 29234 | 35751 | 42119 | 129300 | 148673 | 158388
|  | C | Related to out of state source | 1111 | East Fork SUD - Additional Delivery Infrastructure from NTMWD | 5308000 | 2030 | East Fork SUD | Conveyance/Transmission Pipeline; Storage Tank | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 213 | 375 | 567 | 787 | 993
|  | C | Related to out of state source | 996 | GTUA - Parallel Collin-Grayson Municipal Alliance Pipeline | 89989000 | 2030 | Greater Texoma Utility Authority | Storage Tank; Conveyance/Transmission Pipeline; Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 418 | 3386 | 5250 | 7519 | 10534
|  | C | New major reservoir | 835 | Marvin Nichols (328) - TRWD, NTMWD, UTRWD | 4467478000 | 2050 | Upper Trinity Regional WD; North Texas MWD; Tarrant Regional WD | Pump Station; Storage Tank; New Water Right/Permit Amendment Non-Exempt IBT; Reservoir Construction; Conveyance/Transmission Pipeline | New major reservoir | Reservoir | 0 | 0 | 0 | 451500 | 451500 | 451500
|  | C | Related to out of state source | 1005 | Melissa - Additional Delivery Infrastructure from NTMWD | 2754000 | 2030 | Melissa | Conveyance/Transmission Pipeline | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 208 | 8306 | 13075 | 17119 | 20153 | 20910
|  | C | Related to out of state source | 1007 | Prosper - Additional Delivery Infrastructure from NTMWD | 4608000 | 2030 | Prosper | Conveyance/Transmission Pipeline; Pump Station; Storage Tank | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 1077 | 2881 | 4764 | 6636 | 6592
|  | C | Related to out of state source | 2757 | Rowlett - Additional Delivery Infrastructure from NTWMD | 4105000 | 2030 | Rowlett | Pump Station; Storage Tank | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 1215 | 2048 | 3012 | 3973 | 4833
|  | C | Related to out of state source | 1023 | Sunnyvale - Additional Delivery Infrastructure from NTMWD | 2575000 | 2030 | Sunnyvale | Conveyance/Transmission Pipeline; Pump Station | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 342 | 581 | 922 | 1152 | 1358
|  | C | New major reservoir | 980 | TRWD - Tehuacana Reservoir | 325468000 | 2040 | Tarrant Regional WD | Pump Station; Reservoir Construction | New major reservoir | Reservoir | 0 | 0 | 21070 | 21070 | 21070 | 21070
|  | C | New major reservoir | 982 | UTRWD - Lake Ralph Hall and Reuse | 443091000 | 2030 | Upper Trinity Regional WD | Conveyance/Transmission Pipeline; New Surface Water Intake; Pump Station; Reservoir Construction | Indirect reuse;New major reservoir | Indirect Potable Reuse;Reservoir | 0 | 53164 | 53831 | 54492 | 54376 | 54299
|  | C | Related to out of state source | 1072 | Van Alstyne - Water System Improvements | 2844000 | 2040 | Van Alstyne | Pump Station; Storage Tank | Indirect reuse;New major reservoir;Other strategies;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 31 | 110 | 239 | 842 | 1310
|  | C | Related to out of state source | 1010 | Wylie Northeast SUD - Additional Delivery Infrastructure from NTWMD | 5731000 | 2030 | Wylie Northeast SUD | Storage Tank; New Surface Water Intake | Indirect reuse;New major reservoir;Other surface water | Indirect Potable Reuse;Reservoir;Reservoir System;Run-of-River | 0 | 114 | 193 | 417 | 769 | 1294