## WorkbookDataTabDescriptions
Workbook Description: This workbook contains 2022 State Water Plan recommended water management strategy project (WMSP) data to be used for the WMS project feasibility review task. Data queried on 12/21/2022 and filtered by WMS project sponsor region = 'E'. Recommended WMS are listed in the Excel workbook titled '2022SWPWMS&ProjectFeasibilityAnalysis_WMSWorkbook.' To see strategy details such as WUG geographic information or source geographic information and WMS/WMS project relationships see the Excel workbook titled '2022SWPWMS&ProjectFeasibilityAnalysis_WMSDetails&ProjectRelationships.'
Workbook Tab Name | Workbook tab description
2020WMSProjects | Tab contains projects with an online decade of 2020. This tab is required to be assessed.
SelectProjectsOnlineAfter2020 | Tab contains WMS projects that have an online planning decade of 2030 or 2040 and -Direct potable reuse strategies that provide greater than 5,000 acre-feet per year (acre-feet/year) of supply in any planning decade -Brackish groundwater strategies that provide greater than 10,000 acre-feet/year of supply in any planning decade -Aquifer storage and recovery strategies that provide greater than 10,000 acre-feet/year in any decade -All water transfers from out of state or WMS projects related to new major reservoirs or seawater desalination that occur in any planning decade after 2020.

## 2020WMSProjects
Tab 1: Recommended WMS projects associated with an online decade of 2020
WMS Project identified as infeasible? (Y/N) | RWPG Comments | Project Sponsor Region | Project Category | WMS Project Id | WMS Project Name | Capital Cost | Online Decade | Project Sponsors | Project Components | Project Related WMS Types | Project Related Source Subtypes | Project Related Strategy Supply 2020 AFY | Project Related Strategy Supply 2030 AFY | Project Related Strategy Supply 2040 AFY | Project Related Strategy Supply 2050 AFY | Project Related Strategy Supply 2060 AFY | Project Related Strategy Supply 2070 AFY
|  | E | Other project type | 1685 | Brewster County Other (Marathon WSS Service) - Water Loss Audit and Main-Line Repair | 255000 | 2020 | Municipal county-other (Brewster) | Conveyance/Transmission Pipeline; Water Loss Control | Municipal conservation |  | 12 | 12 | 12 | 12 | 12 | 12
|  | E | Other project type | 4039 | Brewster County Other (Study Butte Terlingua WS) - Water Loss Audit and Main-Line Repair | 3054000 | 2020 | Municipal county-other (Brewster) | Water Loss Control | Municipal conservation |  | 25 | 25 | 25 | 25 | 25 | 25
|  | E | Other project type | 2434 | City of Presidio - Additional Groundwater Well | 5509000 | 2020 | Presidio | Conveyance/Transmission Pipeline; New Water Treatment Plant; Pump Station; Single Well; Storage Tank | Groundwater wells and other | Groundwater | 120 | 120 | 120 | 120 | 120 | 120
|  | E | Other project type | 1860 | City of Presidio - Water Loss Audit and Main-Line Repair | 509000 | 2020 | Presidio | Conveyance/Transmission Pipeline; Water Loss Control | Municipal conservation |  | 35 | 37 | 38 | 41 | 43 | 45
|  | E | Other project type | 1717 | Culberson County Irrigation - Additional Groundwater Well - West Texas Bolsons Aquifer | 510000 | 2020 | Irrigation (Culberson) | Single Well | Groundwater wells and other | Groundwater | 333 | 333 | 333 | 333 | 333 | 333
|  | E | Other project type | 4051 | East Montana WS - Water Loss Audit and Main-Line Repair | 1018000 | 2020 | East Montana Water System | Water Loss Control | Municipal conservation |  | 41 | 46 | 50 | 54 | 59 | 63
|  | E | Other project type | 1730 | El Paso Co. Tornillo WID - Additional Groundwater Well and Transmission Line | 2060000 | 2020 | El Paso County Tornillo WID | Conveyance/Transmission Pipeline; New Water Treatment Plant; Pump Station; Single Well; Storage Tank | Groundwater wells and other | Groundwater | 333 | 333 | 333 | 333 | 333 | 333
|  | E | Other project type | 1777 | El Paso County - EPCWID 1 - Improvements to Water District Delivery System | 157777783 | 2020 | Irrigation (El Paso) | Canal Lining; Conveyance/Transmission Pipeline; Diversion and Control Structure | Agricultural conservation |  | 25000 | 25000 | 25000 | 25000 | 25000 | 25000
|  | E | Other project type | 4105 | El Paso County - EPCWID 1 - Irrigation Scheduling | 102595 | 2020 | Irrigation (El Paso) | Conservation - Agricultural | Agricultural conservation |  | 1740 | 1740 | 1740 | 1740 | 1740 | 1740
|  | E | Other project type | 4090 | El Paso County - EPCWID 1 - New Waterway 32 River Diversion Pumping Point | 4055887 | 2020 | Irrigation (El Paso) | Canal Lining | Agricultural conservation | Run-of-River | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
|  | E | Other project type | 4106 | El Paso County - EPCWID 1 - Tailwater Reuse | 973368 | 2020 | Irrigation (El Paso) | Conservation - Agricultural | Agricultural conservation |  | 1723 | 1723 | 1723 | 1723 | 1723 | 1723
|  | E | Other project type | 1781 | El Paso County - Mining - Additional Groundwater Wells | 1208000 | 2020 | Mining (El Paso) | Multiple Wells/Well Field | Groundwater wells and other | Groundwater | 4251 | 4251 | 4251 | 4251 | 4251 | 4251
|  | E | Other project type | 1996 | EPW - Advanced Purified Water at the Bustamante WWTP | 100361400 | 2020 | El Paso Water | Conveyance/Transmission Pipeline; Injection Well; Water Treatment Plant Expansion; Pump Station | Other direct reuse | Direct Non-Potable Reuse | 8500 | 9200 | 9900 | 10600 | 10600 | 10600
|  | E | Other project type | 4412 | EPW - Municipal Conservation Program | 1071000 | 2020 | El Paso Water | Conservation - Municipal (does not include meter replacement or water loss); Water Loss Control | Municipal conservation |  | 4950 | 5530 | 5080 | 9940 | 13140 | 17820
|  | E | Other project type | 1840 | Fort Davis WSC - Additional Groundwater Well | 584000 | 2020 | Fort Davis WSC | Conveyance/Transmission Pipeline; Single Well | Groundwater wells and other | Groundwater | 274 | 274 | 274 | 274 | 274 | 274
|  | E | Other project type | 4050 | Haciendas Del Norte WID - Water Loss Audit and Main-Line Repair | 764000 | 2020 | Haciendas Del Norte WID | Water Loss Control | Municipal conservation |  | 12 | 13 | 15 | 16 | 17 | 19
|  | E | Groundwater desalination | 2449 | Horizon Regional MUD - Additional Wells and Expansion of Desal Plant | 71809000 | 2020 | Horizon Regional MUD | Conveyance/Transmission Pipeline; Multiple Wells/Well Field; Water Treatment Plant Expansion | Groundwater desalination | Groundwater | 16786 | 16786 | 16786 | 16786 | 16786 | 16786
|  | E | Other project type | 4048 | Horizon Regional MUD - Water Loss Audit and Main-Line Repair | 255000 | 2020 | Horizon Regional MUD | Water Loss Control | Municipal conservation |  | 197 | 274 | 346 | 418 | 487 | 551
|  | E | Other project type | 4103 | Hudspeth County Other - Hudspeth Co WCID 1 - Groundwater Well NE of Van Horn | 2132000 | 2020 | Municipal county-other (Hudspeth) | Single Well; Conveyance/Transmission Pipeline | Groundwater wells and other | Groundwater | 39 | 39 | 39 | 39 | 39 | 0
|  | E | Other project type | 4104 | Hudspeth County Other - Hudspeth Co WCID 1 - Groundwater Well West of Van Horn | 636000 | 2020 | Municipal county-other (Hudspeth) | Conveyance/Transmission Pipeline; Single Well | Groundwater wells and other | Groundwater | 39 | 39 | 39 | 39 | 39 | 39
|  | E | Other project type | 4095 | Hudspeth County Other - Hudspeth Co WCID 1 - Local Groundwater Well | 940000 | 2020 | Municipal county-other (Hudspeth) | Single Well; Conveyance/Transmission Pipeline | Groundwater wells and other | Groundwater | 16 | 16 | 16 | 16 | 16 | 16
|  | E | Other project type | 1837 | Hudspeth Mining - Additional Groundwater Well | 306000 | 2020 | Mining (Hudspeth) | Single Well | Groundwater desalination | Groundwater | 219 | 219 | 219 | 219 | 219 | 219
|  | E | Other project type | 1843 | Jeff Davis County Other (Town of Valentine) - Additional Groundwater Well | 783000 | 2020 | Municipal county-other (Jeff Davis) | Conveyance/Transmission Pipeline; Single Well | Groundwater wells and other | Groundwater | 129 | 129 | 129 | 129 | 129 | 129
|  | E | Other project type | 4028 | Lajitas Municipal Services - Water Loss and Main-Line Repair | 2545000 | 2020 | Lajitas Municipal Services | Water Loss Control | Municipal conservation |  | 51 | 51 | 51 | 51 | 51 | 51
|  | E | Other project type | 2448 | Town of Anthony - Additional Groundwater Well | 1913000 | 2020 | Anthony | Conveyance/Transmission Pipeline; New Agreement; Single Well | Groundwater wells and other | Groundwater | 960 | 960 | 960 | 960 | 960 | 960
|  | E | Other project type | 1701 | Town of Anthony - Arsenic Treatment Facility | 10334000 | 2020 | Anthony | Conveyance/Transmission Pipeline; New Water Treatment Plant; Storage Tank | Groundwater wells and other | Groundwater | 2800 | 2800 | 2800 | 2800 | 2800 | 2800

## SelectProjectsOnlineAfter2020
Tab 2: Select Recommended WMS projects associated with an online decade of later than 2020. See workbook data description tab for details about selected projects.
WMS Project identified as infeasible? (Y/N) | RWPG Comments | Project Sponsor Region | Project Category | WMS Project Id | WMS Project Name | Capital Cost | Online Decade | Project Sponsors | Project Components | Project Related WMS Types | Project Related Source Subtypes | Project Related Strategy Supply 2020 AFY | Project Related Strategy Supply 2030 AFY | Project Related Strategy Supply 2040 AFY | Project Related Strategy Supply 2050 AFY | Project Related Strategy Supply 2060 AFY | Project Related Strategy Supply 2070 AFY
No records produced by query