## WorkbookDataTabDescriptions
Workbook description: This workbook contains 2022 State Water Plan recommended water management strategy (WMS) supply data to be used for the WMS and project infeasibility review task. Data queried on 12/21/2022 and filtered by WMS sponsor region = 'E'. Strategies listed in this workbook may be associated with a WMS project that also needs review. A column named 'Is Strategy Supply Related to a WMS Project? Y/N' is provided at the end of each workbook tab dataset that will indicate if the related project should be evaluated. Recommended projects are listed in the Excel workbook titled '2022SWPWMS&ProjectFeasibilityAnalysis_WMSProjectWorkbook.' To see strategy details such as WUG geographic information or source geographic information and WMS/WMS project relationships see the Excel workbook titled '2022SWPWMS&ProjectFeasibilityAnalysis_WMSDetails&ProjectRelationships.'
Workbook Tab Name | Workbook tab description
2020DemandReductionWMSSupply | Tab contains demand reduction strategy supply for WMS that have strategy supply coming online in planning decade 2020. Strategy supply is shown in acre-feet/year by whole WUG beneficiary. This tab is required to be assessed.
2020SourcRelatedWMSSupply | Tab contains source specific strategy supply for WMS that have strategy supply coming online in planning decade 2020. Strategy supply is shown by source description in acre-feet/year. This tab is required to be assessed.
MajorReservoir&SeawaterDesalWMS | Tab contains new major reservoir and seawater desalination WMS that come online after planning decade 2020. Strategy supply is shown by source description in acre-feet/year.
2030&2040SelectWMSOnlineDecade | Tab contains WMS summarized by source description that have an online planning decade of 2030 or 2040 and -Direct potable reuse strategies that provide greater than 5,000 acre-feet per year (acre-feet/year) of supply in any planning decade -Brackish groundwater strategies that provide greater than 10,000 acre-feet/year of supply in any planning decade -Aquifer storage and recovery strategies that provide greater than 10,000 acre-feet/year in any decade -All water transfers from out of state

## 2020DemandReductionWMSSupply
Tab 1: Recommended demand reduction WMS strategy supply with an online decade of 2020
WMS identified as infeasible? (Y/N) | RWPG Comments | WMS Sponsor Region | WMS Type | WMSId | WMS Name | WMS Group Name | WholeEntityRWPId | WUG Beneficiary | WUG Primary Region | Strategy Supply 2020 | Strategy Supply 2030 | Strategy Supply 2040 | Strategy Supply 2050 | Strategy Supply 2060 | Strategy Supply 2070 | Is Strategy Supply Related to a WMS Project?
|  | E | Agricultural conservation | 5020 | Culberson County Irrigation - Irrigation Scheduling |  | 931 | Irrigation, Culberson | E | 107 | 107 | 107 | 107 | 107 | 107 | N
|  | E | Agricultural conservation | 2641 | EPCWID 1 - Improvements to Water District Delivery System |  | 947 | Irrigation, El Paso | E | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | Y
|  | E | Agricultural conservation | 3005 | EPCWID 1 - Irrigation Scheduling |  | 947 | Irrigation, El Paso | E | 1740 | 1740 | 1740 | 1740 | 1740 | 1740 | Y
|  | E | Agricultural conservation | 3006 | EPCWID 1 - Tailwater Reuse |  | 947 | Irrigation, El Paso | E | 1723 | 1723 | 1723 | 1723 | 1723 | 1723 | Y
|  | E | Municipal conservation | 5019 | Brewster County Other - Study Butte Terlingua WS - Water Loss Audit and Main-Line Repair |  | 388 | County-Other, Brewster | E | 25 | 25 | 25 | 25 | 25 | 25 | Y
|  | E | Municipal conservation | 2702 | City of Presidio - Water Loss Audit and Main-Line Repair |  | 2101 | Presidio | E | 35 | 37 | 38 | 41 | 43 | 45 | Y
|  | E | Municipal conservation | 5027 | East Montana WS - Water Loss Audit and Main-Line Repair |  | 12988 | East Montana Water System | E | 41 | 46 | 50 | 54 | 59 | 63 | Y
|  | E | Municipal conservation | 5021 | EPW - Municipal Conservation Program |  | 47 | El Paso Water | E | 4950 | 5530 | 5080 | 9940 | 13140 | 17820 | Y
|  | E | Municipal conservation | 5026 | Haciendas Del Norte WID - Water Loss Audit and Main-Line Repair |  | 13044 | Haciendas Del Norte WID | E | 12 | 13 | 15 | 16 | 17 | 19 | Y
|  | E | Municipal conservation | 5025 | Horizon Regional MUD - Public Conservation Education |  | 73 | Horizon Regional MUD | E | 79 | 110 | 140 | 169 | 196 | 222 | N
|  | E | Municipal conservation | 5024 | Horizon Regional MUD - Water Loss Audit and Main-Line Repair |  | 73 | Horizon Regional MUD | E | 197 | 274 | 346 | 418 | 487 | 551 | Y
|  | E | Municipal conservation | 5056 | Hudspeth County Other - Hudspeth Co. WCID 1 - Public Conservation Education |  | 481 | County-Other, Hudspeth | E | 1 | 2 | 2 | 2 | 2 | 2 | N
|  | E | Municipal conservation | 5018 | Lajitas Municipal Services - Water Loss Audit and Main-Line Repair |  | 13095 | Lajitas Municipal Services | E | 51 | 51 | 51 | 51 | 51 | 51 | Y
|  | E | Municipal conservation | 5023 | LVWD - Public Conservation Education |  | 87 | Lower Valley Water District | E | 57 | 66 | 74 | 83 | 92 | 100 | N
|  | E | Municipal conservation | 2587 | Marathon WSS Service - Water Loss Audit and Main-Line Repair |  | 388 | County-Other, Brewster | E | 12 | 12 | 12 | 12 | 12 | 12 | Y

## 2020SourcRelatedWMSSupply
Tab 2: Recommended source related WMS strategy supply with an online decade of 2020
WMS identified as infeasible? (Y/N) | RWPG Comments | WMS Sponsor Region | WMS Type | WMS Description | WMSId | WMS Name | WMS Group Name | WMS Sponsor and/or select WUG Beneficiary List | Source Description | Strategy Supply 2020 | Strategy Supply 2030 | Strategy Supply 2040 | Strategy Supply 2050 | Strategy Supply 2060 | Strategy Supply 2070 | Is Strategy Supply Related to a WMS Project?
|  | E | Agricultural conservation | Conservation | 5428 | EPCWID 1 - New Wasteway 32 River Diversion Pumping Plant |  | Irrigation, El Paso | Rio Grande Run-of-River | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | Y
|  | E | Groundwater desalination | Desalination | 3001 | Horizon Regional MUD - Additional Wells and Expansion of Desalination Plant |  | Horizon Regional MUD | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 7460 | 7460 | 7460 | 7460 | 7460 | 7460 | Y
|  | E | Groundwater desalination | Desalination | 3001 | Horizon Regional MUD - Additional Wells and Expansion of Desalination Plant |  | Horizon Regional MUD | Other Aquifer ¦ El Paso | 9326 | 9326 | 9326 | 9326 | 9326 | 9326 | Y
|  | E | Groundwater desalination | Desalination | 2688 | Hudspeth County Mining - Additional Groundwater Well |  | Mining, Hudspeth | West Texas Bolsons Aquifer ¦ Hudspeth | 219 | 219 | 219 | 219 | 219 | 219 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 3012 | City of Presidio - Additional Groundwater Well in the West Texas Bolsons Aquifer |  | Presidio | West Texas Bolsons Aquifer ¦ Presidio | 120 | 120 | 120 | 120 | 120 | 120 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 5002 | Culberson County Irrigation - Additional Well in the West Texas Bolsons Aquifer |  | Irrigation, Culberson | West Texas Bolsons Aquifer ¦ Culberson | 333 | 333 | 333 | 333 | 333 | 333 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 2644 | El Paso Co. (Mining) - Additional Groundwater Wells |  | Mining, El Paso | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 4251 | 4251 | 4251 | 4251 | 4251 | 4251 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 2620 | El Paso Co. Tornillo WID - Additional Groundwater Well and Transmission Line |  | El Paso County Tornillo WID | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 333 | 333 | 333 | 333 | 333 | 333 | Y
|  | E | Groundwater wells and other | Transfer/Transaction | 3520 | El Paso County (SEP) - Purchase Water From EPW |  | El Paso Water | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 7260 | 7260 | 7260 | 7260 | 7260 | 7260 | N
|  | E | Groundwater wells and other | Groundwater Well Development | 2695 | Fort Davis WSC - Additional Groundwater Well |  | Fort Davis WSC | Igneous Aquifer ¦ Jeff Davis | 274 | 274 | 274 | 274 | 274 | 274 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 5063 | Hudspeth County Other - Hudspeth Co. WCID 1 - Groundwater Well NE of Van Horn |  | County-Other, Hudspeth | West Texas Bolsons Aquifer ¦ Culberson | 39 | 39 | 39 | 39 | 39 | 0 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 5067 | Hudspeth County Other - Hudspeth Co. WCID 1 - Groundwater Well West of Van Horn |  | County-Other, Hudspeth | Other Aquifer ¦ Hudspeth | 39 | 39 | 39 | 39 | 39 | 39 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 5057 | Hudspeth County Other - Hudspeth Co. WCID 1 - Local Groundwater Well |  | County-Other, Hudspeth | Other Aquifer ¦ Hudspeth | 16 | 16 | 16 | 16 | 16 | 16 | Y
|  | E | Groundwater wells and other | Groundwater Well Development | 2696 | Jeff Davis County Other (Town of Valentine) - Additional Groundwater Well |  | County-Other, Jeff Davis | West Texas Bolsons Aquifer ¦ Jeff Davis | 129 | 129 | 129 | 129 | 129 | 129 | Y
|  | E | Groundwater wells and other | Transfer/Transaction | 3513 | LVWD - Purchase Water From EPW |  | El Paso Water | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 1344 | 2185 | 3012 | 3895 | 4785 | 5632 | N
|  | E | Groundwater wells and other | Groundwater Well Development | 3491 | Town of Anthony - Additional Groundwater Well |  | Anthony | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 960 | 960 | 960 | 960 | 960 | 960 | Y
|  | E | Groundwater wells and other | New Infrastructure Only | 2592 | Town of Anthony - Arsenic Treatment Facility |  | Anthony | Hueco-Mesilla Bolson Aquifer ¦ El Paso | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | Y
|  | E | Other direct reuse | Non-Potable Reuse | 2794 | EPW - Advanced Water Purification at the Bustamante WWTP |  | El Paso Water | Direct Reuse | 8500 | 9200 | 9900 | 10600 | 10600 | 10600 | Y

## MajorReservoir&SeawaterDesalWMS
Tab 3: Recommended new major reservoir and seawater desalination related WMS strategy supply online in any decade
WMS identified as infeasible? (Y/N) | RWPG Comments | WMS Sponsor Region | WMS Type | WMS Description | WMSId | WMS Name | WMS Group Name | WMS Sponsor and/or select WUG Beneficiary List | Source Description | Strategy Supply 2020 | Strategy Supply 2030 | Strategy Supply 2040 | Strategy Supply 2050 | Strategy Supply 2060 | Strategy Supply 2070 | Online Decade | Is Strategy Supply Related to a WMS Project?
No records produced by query

## 2030&2040SelectWMSOnlineDecade
Tab 4: Recommended select WMS strategy supply with an online decade of 2030 or 2040
WMS identified as infeasible? (Y/N) | RWPG Comments | WMS Sponsor Region | WMS Type | WMS Description | WMSId | WMS Name | WMS Group Name | WMS Sponsor and/or select WUG Beneficiary List | Source Description | Strategy Supply 2020 | Strategy Supply 2030 | Strategy Supply 2040 | Strategy Supply 2050 | Strategy Supply 2060 | Strategy Supply 2070 | Online Decade | Is Strategy Supply Related to a WMS Project?
No records produced by query