## Table_1
Engineering Feasibility Report Submittal Form (to be submitted during Planning Phase)
Entity Name: |  | Date:
Project Name: |  | TWDB Project No.:
EFR Name: |  | Engineering Firm:
Submittal No. (i.e., Initial Submittal is 1): |  | Design Engr. Name:
Contact Name:
E-mail: |  | Phone Number:
Guidance Documents available online at http://www.twdb.texas.gov/financial/instructions/index.asp |  | Applicable Programs
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
Guidance for the Preparation of Wastewater Project Engineering Feasibility Reports (TWDB-0556) |  | Y | Y |  |  | Y |  | Y
Guidance for the Preparation of Drinking Water Project Engineering Feasibility Reports (TWDB-0555) |  |  |  | Y | Y | Y |  | Y
Guidance for Economically Distressed Areas Program (EDAP) (WRD-023A); to be submitted for each Phase A, B, C, and D | [6 empty] | Y
1 | A Statement on the Following is to be Included in the General Description Section: | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
1.01 | Sponsoring political subdivision, address, telephone number and legal owner. | Y | Y | Y | Y | Y | Y | Y
1.02 | Consulting engineer’s name, address, and telephone number. EFR must be signed, dated, and sealed by a Professional Engineer in the State of Texas. | Y | Y | Y | Y | Y | Y | Y
1.03 | Identify the Funding Program(s). | Y | Y | Y | Y | Y | Y | Y
1.04 | Identify entities to be served and current and future population. | Y | Y | Y | Y | Y | Y | Y
1.05 | Provide a general description of the existing system. | Y | Y | Y | Y | Y | Y | Y
1.06 | Description of the Problems and Needs. | Y | Y | Y | Y | Y | Y | Y
1.07 | Discussion of EPA or TCEQ Enforcement Actions. | Y | Y | Y | Y | Y | Y | Y
1.08 | Discussion of Services Areas or Entities Being Joined into the Project. | Y | Y | Y | Y | Y | Y | Y
1.09 | Description of the Proposed Project. | Y | Y | Y | Y | Y | Y | Y
1.1 | Detail on How the Project Will Remedy the Issues Identified in the Intended Use Plan. | Y | Y | Y | Y
1.11 | Discuss pilot study (if applicable). | Y | Y | Y | Y | Y | Y | Y
1.12 | Adequate discussion of the status of any required permits, approvals and/or contracts. | Y | Y | Y | Y | Y | Y | Y
1.13 | U.S. Iron and Steel Requirements. |  |  |  |  | Y | Y | Y
1.14 | American Iron & Steel. | Y | Y | Y | Y | Y | Y | Y
1.15 | Build America, Buy America (BABA) Act Requirements. | Y |  | Y
2 | A Statement on the Following is to be Included in the Alternatives Section: | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
2.01 | Description of Alternatives Considered. | Y | Y | Y | Y | Y | Y | Y
2.02 | Cost and Effectiveness Analysis. | Y | Y | Y | Y | Y | Y | Y
2.03 | Innovative and Alternative System Evaluation. | Y | Y |  |  |  | Y | Y
3 | A Statement on the Following is to be Included in the Project Specific Requirements Section: | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
3.01 | Alternative Methods for Delivery. | Y | Y | Y | Y | Y | Y | Y
3.02 | Detailed Project Budget. | Y | Y | Y | Y | Y | Y | Y
3.03 | Project Schedule. | Y | Y | Y | Y | Y | Y | Y
3.04 | Status of Environmental Assessment Process. | Y | Y | Y | Y | Y | Y | Y
3.05 | For Proposed Collection/Distribution System: | Y | Y | Y | Y |  | Y | Y
3.05.a | - Present area served and future areas to be served. | Y | Y | Y | Y |  | Y | Y
3.05.b | - General description of existing system. | Y | Y | Y | Y |  | Y | Y
3.05.c | - Terrain data in sufficient detail to establish general topographical features of present and future areas to be served. | Y | Y |  |  |  | Y | Y
3.05.d | - Existing and/or proposed lift stations. | Y | Y |  |  |  | Y | Y
3.05.e | - Effect of proposed system expansion on existing system capacity. | Y | Y | Y | Y |  | Y | Y
3.05.f | - Amount of infiltration/inflow existing and anticipated, and how it is to be addressed in the collection system design. | Y | Y |  |  |  | Y | Y
3.05.g | -Existing and/or proposed booster pump stations. |  |  | Y | Y |  |  | Y
3.05.h | -Amount of water loss existing and how the project addresses water loss. |  |  | Y | Y |  |  | Y
3.06 | For on-site systems: | Y | Y |  |  |  | Y | Y
3.06.a | - Demonstrate compliance with On-Site Sewage Facilities Standards 30 TAC 285. | Y | Y |  |  |  | Y | Y
3.07 | For Proposed Water Treatment Plant: |  |  | Y | Y | Y | Y | Y
3.07.a | - Discuss the type of treatment. |  |  | Y | Y | Y | Y | Y
3.07.b | - Discuss the type of equipment. |  |  | Y | Y | Y | Y | Y
3.07.c | - Discuss the capacity of facilities |  |  | Y | Y | Y | Y | Y
3.08 | For Proposed Waste Water Treatment Plant: | Y | Y |  |  |  | Y | Y
3.08.a | - Quantity and quality of existing sewage influent and changes in the characteristics anticipated in the future. | Y | Y |  |  |  | Y | Y
3.08.b | - Provide the names of industries contributing any significant wastes, types of industry (standard industry codes), volume of wastes, characteristics and strength of wastes, population equivalent, and other pertinent information. | Y | Y |  |  |  | Y | Y
3.08.c | - Design and peak flow rates. | Y | Y |  |  |  | Y | Y
3.08.d | - Type of treatment plant proposed and effluent quality expected. | Y | Y |  |  |  | Y | Y
3.08.e | - Describe the existing permit and parameters | Y | Y |  |  |  | Y | Y
3.08.f | - Discuss the proposed permit status and parameters. | Y | Y |  |  |  | Y | Y
3.08.g | - Type of units proposed and their capacities. | Y | Y |  |  |  | Y | Y
3.08.h | - Type of treatment plant proposed and effluent quality expected. | Y | Y |  |  |  | Y | Y
3.08.i | - Treatment plant site information. Including location map identifying buffer zones and flood hazards. | Y | Y | Y | Y | Y | Y | Y
3.08.j | - Sludge Management including quantity, quality and sludge treatment requirements, storage requirements, transportation, land use and land availability. | Y | Y |  |  |  | Y | Y
3.09 | Describe control of bypassing units or equipment which are needed to provide standby capability, provide flexibility of operation, or prevent discharges of partially treated or untreated wastewater during construction. | Y | Y |  |  |  | Y | Y
3.1 | New Sources: describe the source (or sources), with quantity and quality of water available. |  |  | Y | Y | Y | Y | Y
3.11 | Site Map including layout of proposed facilities, existing infrastructure, floodplain location, and required buffers and easements. |  |  | Y | Y | Y | Y | Y
3.12 | Discuss the type of treatment, equipment, and capacity of facilities. |  |  | Y | Y | Y | Y | Y
3.13 | Design data including pumping capacities, water storage and flexibility of system operation under normal and emergency conditions. |  |  | Y | Y | Y | Y | Y
3.14 | Adequacy of the facilities regarding delivery capacity and pressure throughout the system. |  |  | Y | Y | Y | Y | Y
3.15 | Effect of the proposed project on the operation and maintenance budget for the owner. |  |  | Y | Y | Y | Y | Y
3.16 | For Purchase of Facilities: |  |  | Y | Y | Y | Y | Y
3.16.a | - Inventory and current valuation of facilities to be purchased. |  |  | Y | Y | Y | Y | Y
3.16.b | - General description of the capacities and capabilities of the facilities. |  |  | Y | Y | Y | Y | Y
3.16.c | - Historical operating and maintenance records. |  |  | Y | Y | Y | Y | Y
3.16.d | - Information on the 100-year floodplain and development in the project area. |  |  | Y | Y | Y | Y | Y
3.16.e | - Demonstration that facilities were constructed in a manner consistent with all applicable environmental laws and regulations. |  |  | Y | Y | Y | Y | Y
3.17 | For Water Supply Reservoir: |  |  |  |  | Y |  | Y
3.17.a | - Area map showing estimated acreage to be acquired and proposed take-line. |  |  |  |  | Y |  | Y
3.17.b | - Project delineated on a topographic quad sheet with normal, 100-year and maximum probable design water surfaces indicated. |  |  |  |  | Y |  | Y
3.17.c | - Proposed conservation, sediment, flood control and other storage capacities with corresponding areas and elevations. |  |  |  |  | Y |  | Y
3.17.d | - Yield of the project based on efficiency, economics, environmental concerns, 10- to 30-year needs, and expected firm annual yield as proposed. |  |  |  |  | Y |  | Y
3.17.e | - Expected quality of water to be impounded. |  |  |  |  | Y |  | Y
3.17.f | - Existing water rights and purposes of use affected by the project. |  |  |  |  | Y |  | Y
3.17.g | - Estimated total land acquisition cost including provisions for projected appraisal, title search, legal and other associated costs. |  |  |  |  | Y |  | Y
3.17.h | - Description of all improvements (including roads, cemeteries, railroads, and public utilities) to be relocated or protected in the project area. |  |  |  |  | Y |  | Y
3.17.i | - Letters, agreements, or other evidence from owners and/or responsible entities on improvements to be relocated or protected stating their position on acceptable means for such relocation or protection and the estimated cost. |  |  |  |  | Y |  | Y
3.17.j | - Proposed recreational development and management plan, including anticipated buildup in demand, initial facilities to be provided which are and proposed to be dedicated to recreational use. |  |  |  |  | Y |  | Y
3.17.k | - Geologic evaluation of the site accompanied by drilling logs showing sufficient details to indicate that a suitable development site has been selected. |  |  |  |  | Y |  | Y
4 | Exhibits That Are to be Included: | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
4.01 | Location and Vicinity Map. | Y | Y | Y | Y | Y | Y | Y
4.02 | Service Area Map. | Y | Y | Y | Y | Y | Y | Y
4.03 | Existing Site Plan. | Y | Y | Y | Y | Y | Y | Y
4.04 | Proposed Facilities. | Y | Y | Y | Y | Y | Y | Y
4.05 | FEMA Firm Panel (if applicable). | Y | Y | Y | Y | Y | Y | Y
5 | To Be Included in the Appendix: | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
5.01 | Opinion on Probable Construction Cost. | Y | Y | Y | Y | Y | Y | Y
5.02 | Project Budget (TWDB-1201 or TWDB-1202). | Y | Y | Y | Y | Y | Y | Y
5.03 | Project Schedule. To include a minimum (1) closing date, (2) planning phase dates, including environmental and EFR approval, (3) design phase dates, including permitting and approvals, (4) construction phase dates, including bidding, notice-to-proceed, substantial completion, and final completion. | Y | Y | Y | Y | Y | Y | Y
5.04 | Design Calculations. | Y | Y | Y | Y | Y | Y | Y
5.05 | Cost and Effective Certification (TWDB-1107). | Y | Y
5.06 | Lead Service Line Inventory initially submitted by 10/16/2024, accepted by TCEQ (for DWSRF-LSLR Program only). |  |  | Y
6 | For projects with new water wells submit the following separately from the EFR: | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
6.01 | Surface Water Affidavit (WRD-208A) or Groundwater Affidavit (TWDB-208B). |  |  | Y | Y | Y | Y | Y
6.02 | TWDB Water Project Information Form (WRD-253d). |  |  | Y | Y | Y | Y | Y
6.03 | Permit(s) issued by the Groundwater Conservation District. |  |  | Y | Y | Y | Y | Y
Y = Yes, please submit, note the location of each required item in the "Location" column. | [8 empty] | TWDB-200 Rev. 12/2024