## Table 1
Plans and Specifications Design Submittal Form (to be submitted with Plan and Specification Submittals, to be completed by Design Engineer) Note: Submit complete Project Manual as one PDF, bookmarked, and Plan Set, as one PDF as 11x17 unless otherwise requested
Entity Name: |  | Date:
Project Name: |  | TWDB Project No.:
Contract Name: |  | Construction Contract CID:
Submittal No. (i.e., initial submittal is 1) |  | Engineering Firm:
Contact Name:
E-mail: |  | Phone Number:
1 | Prerequisites for Design Submittal: | Applicable Programs | [6 empty] | Approval Dates | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
1.01 | TWDB Environmental Finding Issued. | Y | Y | Y | Y | Y | Y | Y
1.02 | TWDB Engineering Feasibility Report Approval3. | Y | Y | Y | Y | Y | Y | Y
1.03 | Two, bookmarked PDFs submitted for TWDB review: (1) Project Manual/Specifications and (2) Drawings/Plans (11x17 preferred). | Y | Y | Y | Y | Y | Y | Y
2 | A statement on the following is to be included in the Notice to Bidders and Instructions to Bidders (refer to the most recent version of the appropriate Supplemental Contract Conditions under Item 3.00 below): | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
2.01 | Contingent Award of Contract. | Y | Y | Y | Y | Y | Y | Y
2.02 | U.S. Iron and Steel2. |  |  |  |  | Y | Y | Y
2.03 | American Iron and Steel1. |  | Y |  | Y
2.04 | Build America, Buy America (BABA) Act1. | Y |  | Y
2.05 | Bid Guarantee (equivalent to five percent of the bid price). | Y | Y | Y | Y | Y | Y | Y
2.06 | Award of Contract to Nonresident Bidder (see form TWDB-0459). |  | Y |  | Y | Y | Y | Y
2.07 | Davis-Bacon Wage Act. | Y | Y | Y | Y
2.08 | Disadvantaged Business Enterprise. | Y |  | Y
2.09 | Funded by TWDB Language. | Y | Y | Y | Y | Y | Y | Y
2.1 | Equal Employment Opportunity and Affirmative Action. | Y | Y | Y | Y
2.11 | Debarment and Suspension Certification. | Y |  | Y
2.12 | Separate eligible and ineligible bid items (if applicable). | Y | Y | Y | Y | Y | Y | Y
2.13 | Trench Safety as separate bid item (if applicable). | Y | Y | Y | Y | Y | Y | Y
2.14 | Green components as separate bid items (if applicable). | Y | Y | Y | Y | Y | Y | Y
3 | TWDB Documents/Forms To be Included in the Contract Documents (w/Specifications): | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
3.01 | Supplemental Contract Conditions for State Loan Projects (TWDB-0552). |  |  |  |  | Y | Y | Y
3.02 | Supplemental Contract Conditions for CWSRF & DWSRF Equiv. Projects (TWDB-0550). | Y |  | Y
3.03 | Supplemental Contract Conditions for CWSRF & DWSRF Non-Equiv. Projects (TWDB-0551). |  | Y |  | Y
3.04 | Vendor Compliance with Reciprocity of Non-Resident Bidders (TWDB-0459). |  | Y |  | Y | Y | Y | Y
3.05 | Site Certificate (ED-101). | Y | Y | Y | Y | Y | Y | Y
3.06 | Contractor's Act of Assurance (ED-103). | Y | Y | Y | Y | Y | Y | Y
3.07 | Contractor's Act of Assurance Resolution (ED-104). | Y | Y | Y | Y | Y | Y | Y
3.08 | Bidder's Certifications Form (WRD-255). | Y | Y | Y | Y
3.09 | Debarment / Suspension Certification (SRF-404). | Y |  | Y
3.1 | DBE Affirmative Steps solicitation Report (TWDB-0216). | Y |  | Y
3.11 | DBE Prime Contractor Affirmative Steps Certification & Goals (TWDB-0217). | Y |  | Y
3.12 | DBE Loan/Grant Participation Summary (TWDB-0373). | Y |  | Y
3.13 | Monthly American Iron and Steel Certificate (TWDB-1106-A)1. | Y | Y | Y | Y
3.14 | American Iron and Steel (AIS) De Minimis Log (TWDB-1106-B)1. | Y | Y | Y | Y
3.15 | Monthly Build America, Buy America (BABA) Act Certificate (TWDB-1110-A)1. | Y |  | Y
3.16 | Monthly Davis Bacon Wage Rate Certificate of Compliance (DB-0154). | Y | Y | Y | Y
3.17 | Most Current Applicable Davis Bacon Wage Rates General Decision No(s). used for this construction contract. | Y | Y | Y | Y
3.18 | Lead Service Line Replacement Program Construction Certification and Photographs (see form TWDB-0558-B) (for DWSRF-LSLR Program only). |  |  | Y
3.19 | Special and Standard Environmental Conditions. | Y | Y | Y | Y | Y | Y | Y
3.2 | Bid Proposal. | Y | Y | Y | Y | Y | Y | Y
3.21 | Advertisement for Bids (Notice to Bidders). | Y | Y | Y | Y | Y | Y | Y
3.22 | Contract Agreement. | Y | Y | Y | Y | Y | Y | Y
3.23 | Contract Agreement includes BABA language (see TWDB-0559)1. | Y |  | Y
3.24 | 5% Bid Bond, if this is the method chosen for providing the Bid Guarantee. | Y | Y | Y | Y | Y | Y | Y
3.25 | Payment Bond (Water Code Sec 17.183): bond in a penal sum of not less than 100 percent of the contract price and remain in effect for one year beyond the date of approval by the engineer of the political subdivision). This language must be included in the body of the Bond. | Y | Y | Y | Y | Y | Y | Y
3.26 | Performance Bond (Water Code Sec 17.183): bond is in a penal sum of not less than 100 percent of the contract price and remain in effect for one year beyond the date of approval by the engineer of the political subdivision). This language must be included in the body of the Bond. | Y | Y | Y | Y | Y | Y | Y
3.27 | Performance Bond (Water Code Sec 17.183): shall include without limitation guarantees that work done under the contract will be completed and performed according to approved plans and specifications and in accordance with sound construction principles and practices. | Y | Y | Y | Y | Y | Y | Y
4 | To be Mentioned in Plans | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
4.01 | U.S. Iron and Steel2. |  |  |  |  | Y | Y | Y
4.02 | American Iron and Steel1. | Y | Y | Y | Y
4.03 | Build America, Buy America (BABA) Act1. | Y |  | Y
4.04 | Special and Standard Environmental Conditions. | Y | Y | Y | Y | Y | Y | Y
5 | Additional Information | Applicable Programs | [6 empty] | Location (Section, page, etc.) | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
5.01 | Construction inspection provisions. | Y | Y | Y | Y | Y | Y | Y
5.02 | Contractor's insurance. | Y | Y | Y | Y | Y | Y | Y
5.03 | Materials associated with environmental special conditions included in the environmental finding, such as USACE or floodplain permits. | Y | Y | Y | Y | Y | Y | Y
5.04 | For Water projects for which the TWDB is the review authority, complete TCEQ P&S checklists in accordance with TCEQ requirements. |  |  | Y | Y | Y | Y | Y
5.05 | TCEQ Approval: Variances, waivers or exceptions to the state design criteria must be reviewed and approved by TCEQ. For new construction or improvements to surface water treatment plants, public water supply wells, new interconnections, disinfection and treatment projects, the project has been reviewed and has received approval from TCEQ. | Y | Y | Y | Y | Y | Y | Y
5.06 | Lead Service Line Certification of Design (see form TWDB-0558-A) (for DWSRF-LSLR Program only). |  |  | Y
5.07 | Lead Service Line Replacement (LSLR) Program Construction Certification and Photographs (see form TWDB-0558-B) (for DWSRF-LSLR Program only). |  |  | Y
5.08 | Disadvantaged Business Enterprise Guidance (TWDB-0210) | Y |  | Y
5.09 | United States Iron and Steel (U.S. I&S) Guidance (TWDB-1105) |  |  |  |  | Y | Y | Y
5.1 | Requirements for American Iron and Steel (AIS) Guidance (TWDB-1106) | Y | Y | Y | Y
5.11 | Requirements for Build America, Buy America (BABA) Guidance (TWDB-0559) | Y |  | Y
6 | Risk Based Review | Applicable Programs | [6 empty] | Certifications by Design Engineer | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
6.01 | Is the design scope limited to in-situ replacement or rehabilitation of existing wastewater facilities; or new gravity sewer lines and manholes, and the project is located outside the Edwards Aquifer recharge zone? | Y | Y |  |  |  |  | Y
6.02 | Has the entity been granted approval authority by TCEQ? If so, attach a copy of approval authority. | Y | Y |  |  |  |  | Y
7 | Engineer Seal and Certification (Note: the following items should be signed/sealed as needed) | Applicable Programs | [6 empty] | Certifications by Design Engineer | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
7.01 | Biddability and Constructability Certification: I _________________________________________________________________ (engineer name and PE number) certify that I have reviewed the construction drawings and specification to provide adequate information so that a contractor can bid and construction the project without additional details or directions. | Y | Y | Y | Y | Y | Y | Y
7.02 | Potable Water Certification: All potable water distribution systems shall be designed in accordance with current American Water Works Association (AWWA) standards with reference to materials to be used and construction procedures to be followed. In the absence of AWWA standards, TCEQ review may be based upon the standards of the American Society for Testing and Materials (ASTM), commercial, and other recognized standards utilized by licensed professional engineers. I _________________________________________________________________ (engineer name and PE number) certify that, to the best of my knowledge, all potable water distribution system components are designed in accordance with the standards stated above or an exception has been granted for any components not meeting the standards above. | Y | Y | Y | Y | Y | Y | Y
7.03 | Wastewater Certification: I _________________________________________________________________ (engineer name and PE number) certifying that the plans and specifications are in substantial compliance with all the requirements of 30 Texas Administrative Code Chapter 217 (Design Criteria for Domestic Wastewater Systems), with the exception of any approved variances by TCEQ included with this submittal package. | Y | Y |  |  |  |  | Y
7.04 | This submittal form must be signed and sealed by a professional engineer licensed in the state of Texas. (Provide P.E. Seal, Signed, and Dated) | Y | Y | Y | Y | Y | Y | Y
8 | Reference Guidance | Applicable Programs | [6 empty] | Certifications by Design Engineer | TWDB Reviewers Comments
|  | CWSRF EQ | CWSRF NEQ | DWSRF EQ | DWSRF NEQ | SWIFT | EDAP | All Other State Funded Programs
8.01 | Disadvantaged Business Enterprise Guidance (TWDB-0210) | Y |  | Y
8.02 | U.S. Iron and Steel and Manufactured Goods (TWDB-1105) |  |  |  |  | Y | Y | Y
8.03 | Requirements for American Iron and Steel (AIS) Guidance (TWDB-1106) | Y | Y | Y | Y
8.04 | Build America, Buy America (BABA) Guidance (TWDB-0559) | Y |  | Y
8.05 | Drinking Water State Revolving Fund (DWSRF) Lead Service Line Replacement (LSLR) Program Guidance (TWDB-0558) |  |  | Y
1Projects receiving equivalency funding through the SFY2023 Intended Use Plan or later will be required to comply with BABA requirements, unless otherwise directed by TWDB. See required language in TWDB-0559. AIS applies to all EQ projects. 2Applicable for SWIFT projects with resolutions approved by the Board on or after May 1, 2019 (see TWDB-1105). 3 TCEQ must accept the Lead Service Line Inventory (submitted by 10/16/2024) prior to approval of the LSLR Engineering Feasibility Reports.
Y = Yes, please submit, note the location of each required item in the "Location" column. | [9 empty] | TWDB-0300 Rev. 12/2024